## Sheet1
Community Renewal Team - Weatherization Assistance Program (WAP) RFP Pricing Sheet January 2024 | [6 empty] | Contractor Name: ________________________________________________________________________________________________________
Housing Type |  | SWS Section Reference |  | SWS Specifications For more information about these measures, details on all specifications can be found here: https://sws.nrel.gov/using-standard-work-specifications |  |  | Vendor
Single Family | Maufactured Housing | Spec | Topic Covered by the Specification | Topic | SubTopic | Measure | Units | Labor / hour | Materials | Total Cost or Price per Unit
HEATING AND COOLING SWS Section 5
YES | YES | 5.0101.1a | Pre - Work Qualifications | Forced Air | Controls | Thermostat Replacement | $/ thermostat | NA | NA
|  | 5.0101.1b | Thermostat Selection
|  | 5.0101.1c | Thermostat Location
|  | 5.0101.1d | Heat Pump Considerations
|  | 5.0101.1e | Installer Programming
|  | 5.0101.1f | Penetrations
|  | 5.0101.1g | Documentation
YES | YES | 5.0102.1a | Condensate Disposal | Forced Air | Condensate | Condensate Removal |  |  |  | N/A
|  | 5.0102.1b | Connections
|  | 5.0102.1c | Slope
|  | 5.0102.1d | Vents and Traps
|  | 5.0102.1e | Secondary Drain Pan
|  | 5.0102.1f | Float Switches
|  | 5.0102.1g | Insulation
|  | 5.0102.1h | Pumps
|  | 5.0102.1i | Exterior Termination
YES | YES | 5.0103.1a | Material Selection | Forced Air | Refrigerant Loop | Refrigerant Lines |  |  |  | N/A
|  | 5.0103.1b | Sizing
|  | 5.0103.1c | Installation
|  | 5.0103.1d | Insulation
|  | 5.0103.1e | Support
|  | 5.0103.1f | Protection
|  | 5.0103.1g | Locking Refrigerant Caps
YES | YES | 5.0103.2a | Pre-Work Qualifications | Forced Air | Refrigerant Loop | Refrigerant Charge |  |  |  | N/A
|  | 5.0103.2b | Charge
|  | 5.0103.2c | Documentation
YES | YES | 5.0103.3a | Material Selection | Forced Air | Refrigerant Loop | Thermostatic Expansion Valve (TXV) |  |  |  | N/A
|  | 5.0103.3b | Replacement
YES | NO | 5.0104.1a | Material Selection | Forced Air | Duct Installation | New Duct Components |  |  |  | N/A
|  | 5.0104.1b | General Preparation
|  | 5.0104.1c | Duct Design
|  | 5.0104.1d | Termination Design
|  | 5.0104.1e | Protection
|  | 5.0104.1f | Exterior Duct Construction
|  | 5.0104.1g | Plenums
|  | 5.0104.1h | Reducers
|  | 5.0104.1i | Supply Branches
|  | 5.0104.1j | Take - Offs
|  | 5.0104.1k | Flexible Ducts
|  | 5.0104.1l | Boots
|  | 5.0104.1m | Fire Protection
|  | 5.0104.1n | Air Filtration
|  | 5.0104.1o | Room Pressure Balancing
|  | 5.0104.1p | Sealing
|  | 5.0104.1q | Fastening
|  | 5.0104.1r | Support
|  | 5.0104.1s | Insulation
|  | 5.0104.1t | Manual Volume Dampers
HEATING AND COOLING (continued)
YES | YES | 5.0105.1a | Metal to Metal | Forced Air | Duct Repair | Mechanical Fastening |  |  |  | N/A
|  | 5.0105.1b | Flex to Metal
|  | 5.0105.1c | Flex to Flex
|  | 5.0105.1d | Duct Board to Duct Board
|  | 5.0105.1e | Duct Board to Flexible Duct
|  | 5.0105.1f | Duct Board to Metal
|  | 5.0105.1g | Duct Board Plenum to Air Handler Cabinet
|  | 5.0105.1h | Duct Boot to Subfloor
|  | 5.0105.1i | Duct Boot to Gypsum
|  | 5.0105.0j | Metal Plenum to Air Handler Cabinet
YES | YES | 5.0105.2a | Flex Duct and Duct Board Support | Forced Air | Duct Repair | Duct Support |  |  |  | N/A
|  | 5.0105.2b | Metal Duct Support
|  | 5.0105.2c | Plenum Support
NO | YES | 5.0105.3a | General Preparation | Forced Air | Duct Repair | Crossover Duct Repair or Replacement |  |  |  | N/A
|  | 5.0105.3b | Duct Materials
|  | 5.0105.3c | Rigid Transition
|  | 5.0105.3d | Duct Connections
|  | 5.0105.3e | Duct Support
|  | 5.0105.3f | Insulation
|  | 5.0105.3g | Sealing
NO | YES | 5.0105.4a | Material Selection | Forced Air | Duct Repair | Replace Return Air Systems That Use Building Cavities |  |  |  | N/A
|  | 5.0105.4b | Close Exisisting Return Air Openings
|  | 5.0105.4c | Alternate Return Air Path
|  | 5.0105.4d | Sealing
|  | 5.0105.4e | Filtration
NO | YES | 5.0105.5a | Material Selection | Forced Air | Duct Repair | Replace MH Duct Boots |  |  |  | N/A
|  | 5.0105.5b | Boot Construction
|  | 5.0105.5c | Boot Installation
|  | 5.0105.5d | Mechanical Fastening
|  | 5.0105.5e | Sealing
|  | 5.0105.5f | Registers
YES | YES | 5.0106.1a | Sealant Selection | Forced Air | Duct Sealing | General Duct Sealing | $/CFM reduction | NA | NA
|  | 5.0106.1b | Access Ducts
|  | 5.0106.1c | Surface Preparation
|  | 5.0106.1d | Securely Fasten Ducts
|  | 5.0106.1e | General Sealing
|  | 5.0106.1f | Seal Leaks Less Than 1/4"
|  | 5.0106.1g | Seal Leaks Between 1/4" and 3/4"
|  | 5.0106.1h | Seal Leaks Greater Than 3/4"
|  | 5.0106.1i | Duct Boots
|  | 5.0106.1j | Air Handler Jacket
|  | 5.0106.1k | Filter Slot
YES | YES | 5.0106.2a | Material Selection | Forced Air | Duct Sealing | Duct Sealing - Spray Polyurethane Foam (SPF) | $/ CFM reduction | NA | NA
|  | 5.0106.2b | Surface Preparation
|  | 5.0106.2c | Installation
|  | 5.0106.2d | Ignition and Thermal Barriers
YES | YES | 5.0106.3a | Material Selection | Forced Air | Duct Sealing | Duct Sealing - Proprietary Spray Application | $/ full system application (Heating or Heating & Cooling) $/ full system application (Cooling only) [Please provide two prices] | NA | NA
|  | 5.0106.3b | Surface Preparation
|  | 5.0106.3c | Installation
YES | YES | 5.0107.1a | Material Selection | Forced Air | Duct Insulation | General Duct Insulation |  |  |  | N/A
|  | 5.0107.1b | General Preparation
|  | 5.0107.1c | Insulation Value
|  | 5.0107.1d | Attachment
|  | 5.0107.1e | Sealing
|  | 5.0107.1f | Insulation - Onsite Documentation
HEATING AND COOLING (continued)
YES | YES | 5.0107.2a | Material Selection | Forced Air | Duct Insulation | Duct Insulation - Spray Polyurethane Foam (SPF) |  |  |  | N/A
|  | 5.0107.2b | Surface Preparation
|  | 5.0107.2c | Installation
|  | 5.0107.2d | Ignition and Thermal Barriers
|  | 5.0107.2e | Insulation - Onsite Documentation
YES | YES | 5.0108.1a | Load Calculation | Forced Air | Equipment Installation | Air - to - Air Split System |  |  |  | N/A
|  | 5.0108.1b | Equipment Selection
|  | 5.0108.1c | Outdoor Unit Location
|  | 5.0108.1d | Outdoor Unit Support
|  | 5.0108.1e | Outdoor Unit Installation
|  | 5.0108.1f | Indoor Unit Location
|  | 5.0108.1g | Indoor Unit Installation
|  | 5.0108.1h | Support - All Installations
|  | 5.0108.1i | Support - Horizontal Air Flow in Attic
|  | 5.0108.1j | Support - Horizontal Air Flow in Subspace
|  | 5.0108.1k | Support - Upflow on a platform
|  | 5.0108.1l | Support - Downflow
|  | 5.0108.1m | Connections
|  | 5.0108.1n | Intakes / Terminations
|  | 5.0108.1o | Condensate Drainage
|  | 5.0108.1p | Electrical Wiring
|  | 5.0108.1q | Refrigerant Lines and Charge
|  | 5.0108.1r | Fire Protection
|  | 5.0108.1s | Air Handler Sealing
|  | 5.0108.1t | Documentation
YES | YES | 5.0108.2a | Load Calculation | Forced Air | Equipment Installation | Air - to - Air Package Unit |  |  |  | N/A
|  | 5.0108.2b | Equipment Selection
|  | 5.0108.2c | Unit Location
|  | 5.0108.2d | Unit Support
|  | 5.0108.2e | Unit Installation
|  | 5.0108.2f | Electrical Wiring
|  | 5.0108.2g | Refrigerant Lines and Charge
|  | 5.0108.2h | Connections
|  | 5.0108.2i | Outdoor Ductwork
|  | 5.0108.2j | Intakes / Terminations
|  | 5.0108.2k | Condensate Drainage
|  | 5.0108.2l | Fire Protection
|  | 5.0108.2m | Documentation
YES | YES | 5.0108.3a | Load Calculation | Forced Air | Equipment Installation | Mini - Split System |  |  |  | N/A
|  | 5.0108.3b | Equipment Selection
|  | 5.0108.3c | Outdoor Unit Location
|  | 5.0108.3d | Outdoor Unit Support
|  | 5.0108.3e | Outdoor Unit Installation
|  | 5.0108.3f | Indoor Unit Location
|  | 5.0108.3g | Indoor Unit(s) Installation
|  | 5.0108.3h | Ceiling Cassette Insulation
|  | 5.0108.3i | Indoor Unit(s) Support
|  | 5.0108.3j | Electrical Wiring
|  | 5.0108.3k | Intakes / Terminations
|  | 5.0108.3l | Connections
|  | 5.0108.3m | Ducting
|  | 5.0108.3n | Refrigerant Piping
|  | 5.0108.3o | Controls
|  | 5.0108.3p | Condensate
|  | 5.0108.3q | Documentation
HEATING AND COOLING (continued)
YES | YES | 5.0108.4a | Load Calculation | Forced Air | Equipment Installation | Furnaces | $/Installation | $/Labor | $/Materials and Equipment | PRICING IS BASED ON A QUOTE FOR A PARTICULAR HOME AND BY FUEL TYPE
|  | 5.0108.4b | Equipment Selection
|  | 5.0108.4c | Indoor Unit Location
|  | 5.0108.4d | Indoor Unit Installation
|  | 5.0108.4e | Support - All Installations
|  | 5.0108.4f | Support - Horizontal Air Flow in Attic
|  | 5.0108.4g | Support - Horizontal Air Flow in Subspace
|  | 5.0108.4h | Support - Upflow on a platform
|  | 5.0108.4i | Support - Downflow
|  | 5.0108.4j | Connections
|  | 5.0108.4k | Intakes / Terminations
|  | 5.0108.4l | Condensate Drainage
|  | 5.0108.4m | Electrical Wiring
|  | 5.0108.4n | Fire Protection
|  | 5.0108.4o | Air Handler Sealing
|  | 5.0108.4p | Documentation
YES | YES | 5.0108.5a | Equipment Selection | Forced Air | Equipment Installation | Evaporative Coolers |  |  |  | N/A
|  | 5.0108.5b | Installation Location
|  | 5.0108.5c | Installation
|  | 5.0108.5d | Support
|  | 5.0108.5e | Connections
|  | 5.0108.5f | Electrical Wiring
|  | 5.0108.5g | Water Management
|  | 5.0108.5h | Intakes / Terminations
|  | 5.0108.5i | Documentation
YES | YES | 5.0109.1a | Repair Diagnosis | Forced Air | Clean and Tune | Condensers |  |  |  | N/A
|  | 5.0109.1b | Service
|  | 5.0109.1c | Documentation
YES | YES | 5.0109.2a | Repair Diagnosis | Forced Air | Clean and Tune | Air Handlers |  |  |  | N/A
|  | 5.0109.2b | Service
|  | 5.0109.2c | Documentation
YES | YES | 5.0109.3a | Repair Diagnosis | Forced Air | Clean and Tune | Evaporators |  |  |  | N/A
|  | 5.0109.3b | Service
|  | 5.0109.3c | Documentation
YES | YES | 5.0109.4a | Repair Diagnosis | Forced Air | Clean and Tune | Combustion Furnaces | $/Job | $/Labor | $/Materials | PRICING IS BASED ON A QUOTE FOR A PARTICULAR HOME AND BY FUEL TYPE
|  | 5.0109.4b | Service
|  | 5.0109.4c | Documentation
YES | YES | 5.0109.5a | Service | Forced Air | Clean and Tune | Evaporative Coolers |  |  |  | N/A
|  | 5.0109.5b | Repair Diagnosis
|  | 5.0109.5c | Documentation
YES | NO | 5.0201.1a | Pre-Work Qualifications | Hydronic | Controls | Thermostat Replacement | $/ thermostat | NA | NA | N/A
|  | 5.0201.1b | Thermostat Selection
|  | 5.0201.1c | Thermostat Location
|  | 5.0201.1d | Installation
|  | 5.0201.1e | Installer Programming
|  | 5.0201.1f | Penetrations
|  | 5.0201.1g | Documentation
YES | NO | 5.0202.1a | Reflector Installation | Hydronic | Distribution | Radiator Reflector |  |  |  | N/A
|  | 5.0202.1b | Insulation
YES | NO | 5.0202.2a | Insulation Selection | Hydronic | Distribution | Distribution Insulation |  |  |  | N/A
|  | 5.0202.2b | Installation
|  | 5.0202.2c | Documentation
HEATING AND COOLING (continued)
YES | NO | 5.0203.1a | Load Calculation | Hydronic | Equipment Installation | Boilers | $/Installation | $/Labor | $/Materials | PRICING IS BASED ON A QUOTE FOR A PARTICULAR HOME AND BY FUEL TYPE
|  | 5.0203.1b | Equipment Selection
|  | 5.0203.1c | Installation Location
|  | 5.0203.1d | Equipment Installation
|  | 5.0203.1e | Equipment Support
|  | 5.0203.1f | Electrical Wiring
|  | 5.0203.1g | Connections
|  | 5.0203.1h | Documentation
YES | NO | 5.0204.1a | Repair Diagnosis | Hydronic | Clean and Tune | Fuel - Fired Boilers | $/Job | $/Labor | $/Materials | PRICING IS PER JOB BY FUEL TYPE
|  | 5.0204.1b | Service
|  | 5.0204.1c | Documentation
YES | YES | 5.0301.1a | Pre - Work Qualifications | Non-Distributed | Room Conditioning | Through - Wall and Window Units |  |  |  | N/A
|  | 5.0301.1b | Equipment Selection
|  | 5.0301.1c | Installation
|  | 5.0301.1d | Support
|  | 5.0301.1e | Sealing
|  | 5.0301.1f | Disposal
|  | 5.0301.1g | Documentation
YES | NO | 5.0301.2a | Load Calculation | Non-Distributed | Room Conditioning | PTAC / PTHP Units |  |  |  | N/A
|  | 5.0301.2b | Equipment Selection
|  | 5.0301.2c | Installation
|  | 5.0301.2d | Condensate Disposal
|  | 5.0301.2e | Sealing
|  | 5.0301.2f | Insulation
|  | 5.0301.2g | Disposal
|  | 5.0301.2h | Documentation
YES | NO | 5.0301.3a | Load Calculation | Non-Distributed | Room Conditioning | Wall Furnace |  |  |  | N/A
|  | 5.0301.3b | Equipment Selection
|  | 5.0301.3c | Installation
|  | 5.0301.3d | Controls
|  | 5.0301.3e | Condensate Disposal
|  | 5.0301.3f | Sealing
|  | 5.0301.3g | Disposal
|  | 5.0301.3h | Documentation
YES | NO | 5.0502.1a | Design | Combustion Safety | Combustion Air | Combustion Air - Fuel - Fired Appliances |  |  |  | N/A
|  | 5.0502.1b | Installation
YES | YES | 5.0503.1a | Design | Combustion Safety | Appliance Venting | Fuel - Fired Appliance Venting |  |  |  | N/A
|  | 5.0503.1b | Materials
|  | 5.0503.1c | Installation
|  | 5.0503.1d | Terminations
|  | 5.0503.1e | Chimney Liners
YES | YES | 5.0504.1a | Material Selection | Combustion Safety | Fuel Delivery | Natural Gas / Propane Fuel Piping |  |  |  | N/A
|  | 5.0504.1b | Gas Piping Size
|  | 5.0504.1c | Piping Location
|  | 5.0504.1d | Support
|  | 5.0504.1e | Required Components
|  | 5.0504.1f | Gas Pressure Regulator Venting
|  | 5.0504.1g | Sealing
|  | 5.0504.1h | Safety Devices for Propane
|  | 5.0504.1i | Gas Boosters
YES | YES | 5.0504.2a | Material Selection | Combustion Safety | Fuel Delivery | Oil Piping |  |  |  | N/A
|  | 5.0504.2b | Piping Location
|  | 5.0504.2c | Support
|  | 5.0504.2d | Required Components
|  | 5.0504.2e | Pumps
|  | 5.0504.2f | Line Connections
HEATING AND COOLING (continued)
YES | YES | 5.8801.1a | Utility Disconnect | Special Considerations | Equipment Removal | Decommissioning |  |  |  | N/A
|  | 5.8801.1b | Refrigerant Recovery
|  | 5.8801.1c | Equipment Disconnection
|  | 5.8801.1d | Equipment Removal
|  | 5.8801.1e | Disposal
VENTILATION Measures SWS Section 5
YES | YES | 6.0101.1a | Material Selection | Infrastructure | Components | Ventilation Ducts |  |  |  | N/A
|  | 6.0101.1b | Design and Configuration
|  | 6.0101.1c | Combing Air Streams
|  | 6.0101.1d | Mechanical Fastening
|  | 6.0101.1e | Sealing
|  | 6.0101.1f | Insulation
|  | 6.0101.1g | Support
YES | YES | 6.0101.2a | Selection | Infrastructure | Components | Exhaust Terminations |  |  |  | N/A
|  | 6.0102.2b | Damper
|  | 6.0102.2c | Location
|  | 6.0102.2d | Installation
|  | 6.0101.2e | Duct to Termination Connection
|  | 6.0101.2f | Sealing
YES | YES | 6.0101.3a | Selection | Infrastructure | Components | Exterior Intakes |  |  |  | N/A
|  | 6.0101.3b | Damper
|  | 6.0101.3c | Location
|  | 6.0101.3d | Installation
|  | 6.0101.3e | Duct to Termination Connection
|  | 6.0101.3f | Labeling
|  | 6.0101.3g | Sealing
VENTILATION (continued)
YES | YES | 6.0301.1a | Pre - Work Qualifications | Whole - Building Ventilation | Supply Ventilation | Fresh Air Intake in Forced Air System |  |  |  | N/A
|  | 6.0301.1b | Intake Location
|  | 6.0301.1c | Labeling
|  | 6.0301.1d | Pest Exclusion
|  | 6.0301.1e | Motorized Damper
|  | 6.0301.1f | System Control
|  | 6.0301.1g | Wiring
|  | 6.0301.1h | Fresh Air Filtration
|  | 6.0301.1i | Filter Accessibility and Fit
|  | 6.0301.1j | Access
|  | 6.0301.1k | Ducting
|  | 6.0301.1l | Fire Dampers
|  | 6.0301.1m | System Balancing
YES | NO | 6.0305.1a | Equipment Selection | Whole - Building Ventilation | Dehumidification | Ventilator Dehumidifiers |  |  |  | N/A
|  | 6.0305.1b | Sizing
|  | 6.0305.1c | Equipment Location
|  | 6.0305.1d | Mounting
|  | 6.0305.1e | Installation
|  | 6.0305.1f | Wiring
|  | 6.0305.1g | Controls
|  | 6.0305.1h | Sealing
|  | 6.0305.1i | Condensate Drain
|  | 6.0305.1j | Access
|  | 6.0305.1k | Fire Dampers
VENTILATION (continued)
YES | YES | 6.0306.1a | Power Supply | Whole - Building Ventilation | Decommissioning | Decommissioning Ventilation Systems |  |  |  | N/A
|  | 6.0306.1b | Fan and Component Removal
|  | 6.0306.1c | Sealing Holes and Openings
|  | 6.0306.1d | Disposal
BASELOAD (ROUTINE NEEDS FOR THE HOUSEHOLD)
YES | YES | 7.0101.1a | Pre - Work Qualifications | Plug Load | Refrigeration | Refrigerator and Freezer Replacement |  |  |  | N/A
|  | 7.0101.1b | Selection
|  | 7.0101.1c | Installation
|  | 7.0101.1d | Accessibility
|  | 7.0101.1e | Disposal
|  | 7.0101.1f | Documentation
YES | YES | 7.0101.2a | Clearances and Location | Plug Load | Refrigeration | Refrigerator / Freezer Clean and Tune |  |  |  | N/A
|  | 7.0101.2b | Coil Cleaning
|  | 7.0101.2c | Condensation Settings
|  | 7.0101.2d | Temperature Settings
YES | YES | 7.0102.1a | Pre - Work Qualifications | Plug Load | Electronics | Consumer Electronics Replacement |  |  |  | N/A
|  | 7.0102.1b | Selection
|  | 7.0102.1c | Installation
|  | 7.0102.1d | Disconnecting Means
|  | 7.0102.1e | Disposal
|  | 7.0102.1f | Documentation
YES | YES | 7.0301.2a | Pre - Work Qualifications | Water Heating | Thermal Loss Reduction | Tank Insulation |  |  |  | N/A
|  | 7.0301.2b | Insulation Selection
|  | 7.0301.2c | Insulation Installation
|  | 7.0301.2d | Clearance
|  | 7.0301.2e | Service Access
YES | YES | 7.0302.1a | Pre-Work Qualifications | Water Heating | Water Heater Installation | Electric Storage Tank Water Heater |  |  |  | N/A
|  | 7.0302.1b | Equipment Selection
|  | 7.0302.1c | Location
|  | 7.0302.1d | Installation
|  | 7.0302.1e | Equipment Accessibility
|  | 7.0302.1f | T and P Valve and Piping
|  | 7.0302.1g | Emergency Drain Pan
|  | 7.0302.1h | Shut - Off Valves
|  | 7.0302.1i | Expansion Tank
|  | 7.0302.1j | Dielectric Unions
|  | 7.0302.1k | Heat Traps
|  | 7.0302.1l | Discharge Temperture Settings
|  | 7.0302.1m | Multitank Systems
|  | 7.0302.1n | Disposal
|  | 7.0302.1o | Documentation
YES | YES | 7.0302.2a | Pre - Work Qualifications | Water Heating | Water Heater Installation | Fuel - Fired Storage Tank Water Heater |  |  |  | N/A
|  | 7.0302.2b | Equipment Selection
|  | 7.0302.2c | Location
|  | 7.0302.2d | Installation
|  | 7.0302.2e | Equipment Accessibility
|  | 7.0302.2f | Fuel Supply
|  | 7.0302.2g | Emergency Drain Pan
|  | 7.0302.2h | Shut - Off Valves
|  | 7.0302.2i | Expansion Tank
|  | 7.0302.2j | T and P Valve and Piping
|  | 7.0302.2k | Dielectric Unions
|  | 7.0302.2l | Heat Traps
|  | 7.0302.2m | Discharge Temperture Settings
|  | 7.0302.2n | Multitank Systems
|  | 7.0302.2o | Disposal
|  | 7.0302.2p | Documentation
BASELOAD (ROUTINE NEEDS FOR THE HOUSEHOLD)(continued)
YES | YES | 7.0302.3a | Pre - Work Qualifications | Water Heating | Water Heater Installation | Heat Pump Storage Tank Water Heater |  |  |  | N/A
|  | 7.0302.3b | Equipment Selection
|  | 7.0302.3c | Location
|  | 7.0302.3d | Installation
|  | 7.0302.3e | Equipment Accessibility
|  | 7.0302.3f | T and P Valve and Piping
|  | 7.0302.3g | Emergency Drain Pan
|  | 7.0302.3h | Shut - Off Valves
|  | 7.0302.3i | Expansion Tank
|  | 7.0302.3j | Dielectric Unions
|  | 7.0302.3k | Heat Traps
|  | 7.0302.3l | Discharge Temperture Settings
|  | 7.0302.3m | Disposal
|  | 7.0302.3n | Documentation
YES | YES | 7.0302.5a | Pre - Work Qualifications | Water Heating | Water Heater Installation | Tankless On - Demand / Point - of - Use Appliances |  |  |  | N/A
|  | 7.0302.5b | Equipment Selection
|  | 7.0302.5c | Location
|  | 7.0302.5d | Installation
|  | 7.0302.5e | Equipment Accessibility
|  | 7.0302.5f | Shut - Off Valves
|  | 7.0302.5g | T and P Valve and Piping
|  | 7.0302.5h | Fuel Supply
|  | 7.0302.5i | Dielectric Unions
|  | 7.0302.5j | Discharge Temperture Settings
|  | 7.0302.5k | Disposal
|  | 7.0302.5l | Documentation
YES | YES | 7.0302.6a | Pre - Work Qualifications | Water Heating | Water Heater Installation | Solar Water Heater |  |  |  | N/A
|  | 7.0302.6b | Storage Tank Selection
|  | 7.0302.6c | Solar Collector Location
|  | 7.0302.6d | Installation
|  | 7.0302.6e | Accessibility
|  | 7.0302.6f | Freeze Protection
|  | 7.0302.6g | Emergency Drain Pan
|  | 7.0302.6h | T and P Valve and Piping
|  | 7.0302.6i | Dielectric Unions
|  | 7.0302.6j | Heat Traps
|  | 7.0302.6k | Isolation Valves
|  | 7.0302.6l | Expansion Tank
|  | 7.0302.6m | Insulate Piping
|  | 7.0302.6n | Discharge Temperature Settings
|  | 7.0302.6o | Multitank Systems
|  | 7.0302.6p | Disposal
|  | 7.0302.6q | Documentation
YES | YES | 7.0303.1a | Pre - Work Qualifications | Water Heating | Distribution Components | Mixing Valves |  |  |  | N/A
|  | 7.0303.1b | Location
|  | 7.0303.1c | Installation
|  | 7.0303.1d | Equipment Accessibility
|  | 7.0303.1e | Isolation Valves
|  | 7.0303.1f | Check Valves
|  | 7.0303.1g | Heat Traps
|  | 7.0303.1h | Temperature Guages
|  | 7.0303.1i | Wiring
|  | 7.0303.1j | Dielectric Unions
|  | 7.0303.1k | Discharge Temperature Settings
|  | 7.0303.1l | Documentation
BASELOAD (ROUTINE NEEDS FOR THE HOUSEHOLD)(continued)
YES | YES | 7.0303.2a | Pre - Work Qualifications | Water Heating | Distribution Components | Piping |  |  |  | N/A
|  | 7.0303.2b | Material Selection
|  | 7.0303.2c | Decommissioning Existing Piping
|  | 7.0303.2d | Piping Location
|  | 7.0303.2e | New Pipe Installation
|  | 7.0303.2f | Insulate Piping
|  | 7.0303.2g | Friction Loss
|  | 7.0303.2h | Dielectric Unions
|  | 7.0303.2i | Stray Voltage Protection
|  | 7.0303.2j | Disposal
YES | YES | 7.0303.5a | Expansion Tank Selection | Water Heating | Distribution Components | Expansion Tank (Potable Water) |  |  |  | N/A
|  | 7.0303.5b | Location
|  | 7.0303.5c | Installation
|  | 7.0303.5d | Support
|  | 7.0303.5e | Air Pressure
|  | 7.0303.5f | Documentation
YES | YES | 7.8802.1a | Pre - Work Qualifications | Special Considerations | Spas, Hot Tubs, Saunas | Motor Replacement |  |  |  | N/A
|  | 7.8802.1b | Equipment Selection
|  | 7.8802.1c | Installation
|  | 7.8802.1d | Disposal or Reuse
|  | 7.8802.1e | Documentation
YES | YES | 7.8802.2a | Pre-Work Qualifications | Special Considerations | Spas, Hot Tubs, Saunas | Control Replacement |  |  |  | N/A
|  | 7.8802.2b | Equipment Selection
|  | 7.8802.2c | Installation
|  | 7.8802.2d | Disposal or Reuse
|  | 7.8802.2e | Documentation
YES | YES | 7.8803.1a | Pre - Work Qualifications | Special Considerations | Water Conditioning | Water Softening System Installation |  |  |  | N/A
|  | 7.8803.1b | Equipment Selection
|  | 7.8803.1c | Location
|  | 7.8803.1d | Equipment Accessibility
|  | 7.8803.1e | Installation
|  | 7.8803.1f | Electrical Wiring
|  | 7.8803.1g | Isolation and Bypass Valves
|  | 7.8803.1h | Salt Storage
|  | 7.8803.1i | Documentation
Note on F67: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Deep has indicated that "We are looking to do duct work in the future since it often times can result in energy savings." Is that happening effective 3/18? If not how can we ask contractors for pricing for this measure? Are there other measures here for which we are not going to be issuing work orders in this program year?