## Sheet1
Community Renewal Team - Weatherization Assistance Program (WAP) RFP Pricing Sheet January 2024 - REVISED 3/18/2024 | [6 empty] | Contractor Name: ________________________________________________________________________________________________________
Housing Type |  | SWS Section Reference |  | SWS Specifications For more information about these measures, details on all specifications can be found here: https://sws.nrel.gov/using-standard-work-specifications |  |  | Vendor
Single Family | Manufactured Housing | Spec | Topic Covered by the Specification | Topic | SubTopic | Measure | Units | Labor / hour | Materials | Total Cost or Price per Unit
HEALTH & SAFETY Measures (SWS Section 2)
YES | YES | 2.0101.1a | Selection | Safety Devices | Smoke Alarms | Hardwired (Interconnected) Smoke Alarms | $/alarm | NA | NA
|  | 2.0101.1b | Location
|  | 2.0101.1c | Installation
|  | 2.0101.1d | Occupant Notification
YES | YES | 2.0101.2a | Selection | Safety Devices | Smoke Alarms | Battery-Operated Smoke Alarms | $/alarm | NA | NA
|  | 2.0101.2b | Location
|  | 2.0101.2c | Installation
|  | 2.0101.2d | Occupant Notification
YES | YES | 2.0102.1a | Selection | Safety Devices | Carbon Monoxide Alarms | CO Detection and Warning Equipment | $/alarm | NA | NA
|  | 2.0102.1b | Location
|  | 2.0102.1c | Installation
|  | 2.0102.1d | Occupant Notification
YES | YES | 2.0103.1a | Selection | Safety Devices | Water Heating | Temperature and Pressure Relief Valve | $ Per Unit
|  | 2.0103.1b | Installation
|  | 2.0103.1c | Discharge
YES | YES | 2.0201.1a | Selection | Moisture | Drainage | Gutters | $ Per Linear Foot
|  | 2.0201.1b | Attachment
|  | 2.0201.1c | Slope
|  | 2.0201.1d | Sealing
YES | YES | 2.0201.2a | Selection | Moisture | Drainage | Downspouts | $ Per Linear Foot
|  | 2.0201.2b | Attachment
|  | 2.0201.2c | Drainage
YES | YES | 2.0201.3a | Slope | Moisture | Drainage | Grading | $ Per Sq/Ft
|  | 2.0201.3b | Vegetation Removal
YES | NO | 2.0201.4a | Selection | Moisture | Drainage | Sump Pump Cover | $ Per Unit
|  | 2.0201.4b | Installation
|  | 2.0201.4c | Discharge
|  | 2.0201.4d | Commissioning
|  | 2.0201.4e | Occupant Notification
YES | NO | 2.0201.4a | Selection | Moisture | Drainage | Sump Pumps | Per Quote | N/A | N/A | N/A
|  | 2.0201.4b | Installation
|  | 2.0201.4c | Discharge
|  | 2.0201.4d | Commissioning
|  | 2.0201.4e | Occupant Notification
YES | YES | 2.0202.1a | Preparation | Moisture | Ground Vapor Retarders | Unvented SubSpaces - Ground Cover | $ Per Sq/Ft
|  | 2.0202.1b | Material Selection
|  | 2.0202.1c | Coverage
|  | 2.0202.1d | Drainage
|  | 2.0202.1e | Seams/Connections
|  | 2.0202.1f | Fastening
|  | 2.0202.1g | Air Sealing
|  | 2.0202.1h | Signage
YES | YES | 2.0202.2a | Preparation | Moisture | Ground Vapor Retarders | Vented Subspaces - Ground Cover | $ Per Sq/Ft
|  | 2.0202.2b | Material Selection
|  | 2.0202.2c | Coverage
|  | 2.0202.2d | Drainage
|  | 2.0202.2e | Seams/Connections
|  | 2.0202.2f | Fastening
|  | 2.0202.2g | Air Sealing
|  | 2.0202.2h | Signage
YES | YES | 2.0202.3a | Preparation | Moisture | Ground Vapor Retarders | Pier and Skirting Foundations - Ground Cover | $ Per Sq/Ft
| NO | 2.0202.3b | Coverage
|  | 2.0202.3c | Material Selection
|  | 2.0202.3d | Seams
|  | 2.0202.3e | Fastening
HEALTH & SAFETY, continued
YES | YES | 2.0203.1a | Selection | Moisture | Space Conditioning | Stand-Alone Dehumidifier Installation | Per Quote | N/A | N/A | N/A
|  | 2.0203.1b | Installation
|  | 2.0203.1c | Commissioning
|  | 2.0203.1d | Disposal
|  | 2.0203.1e | Client Education
YES | YES | 2.0301.1a | Junction Box Covers | Electrical | High Voltage | Junctions/Splices Enclosed | $ Per Unit
|  | 2.0301.1b | Wiring Splices
YES | NO | 2.0301.2a | Clearance | Electrical | High Voltage | Knob and Tube Wiring - Isolation | Per Quote | N/A | N/A | N/A
|  | 2.0301.2b | Marking
YES | NO | 2.0401.1a | Applicable Spaces | Radon | Radon Precautionary Measures | Soil Gas Retarder | $ Per Sq/Ft
|  | 2.0401.1b | Preparation
|  | 2.0401.1c | Material Selection
|  | 2.0401.1d | Coverage
|  | 2.0401.1e | Termite Inspection CAP
|  | 2.0401.1f | Seams
|  | 2.0401.1g | Foundation Connections
|  | 2.0401.1h | Penetrations
|  | 2.0401.1i | Fastening
|  | 2.0401.1j | Drainage
YES | NO | 2.0401.2a | Sump Covers | Radon | Radon Precautionary Measures | Sump Well/Pit Covers | Per Quote | N/A | N/A | N/A
|  | 2.0401.2b | Drainage
YES | NO | 2.0401.3a | Sealing Penetrations | Radon | Radon Precautionary Measures | Drain Fittings | $ Per Unit
|  | 2.0401.3b | Airtight Drains
YES | NO | 2.0402.1a | Standard for Installation | Radon | Radon Mitigation | New Systems | Per Quote | N/A | N/A | N/A
AIR SEALING Measures (SWS Section 3)
YES | YES | 3.0101.1a | Sealant Selection | General Pressure Boundary | General Air Sealing | Air Sealing Holes | $/hr
|  | 3.0101.1b | Material Selection
|  | 3.0101.1c | Backing, Infill, and Support
|  | 3.0101.1d | Surface Preparation
|  | 3.0101.1e | Sealant Application
|  | 3.0101.1f | High Temperature Application
YES | YES | 3.0102.1a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | Sealing Non-Insulation Contact (IC) Recessed Light | $ Per Unit
|  | 3.0102.1b | Material Selection
|  | 3.0102.1c | Clearance
|  | 3.0102.1d | Enclosure Top
|  | 3.0102.1e | Structural Soundness
|  | 3.0102.1f | Surface Preparation
|  | 3.0102.1g | Sealant Application
|  | 3.0102.1h | Marking
YES | YES | 3.0102.1a | Sealant Selection | General Pressure Boundary | Intentional Attic Openings | Bath Fan Dams | $ Per Unit
|  | 3.0102.1b | Material Selection
|  | 3.0102.1c | Clearance
|  | 3.0102.1d | Enclosure Top
|  | 3.0102.1e | Structural Soundness
|  | 3.0102.1f | Surface Preparation
|  | 3.0102.1g | Sealant Application
|  | 3.0102.1h | Marking
YES | YES | 3.0102.2a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | Sealing High Temperature Devices | $/hr
|  | 3.0102.2b | Material Selection
|  | 3.0102.2c | Clearance and Isolation
|  | 3.0102.2d | Backing and Infill
|  | 3.0102.2e | Surface Preparation
|  | 3.0102.2f | Sealant Application
AIR SEALING Measures (SWS Section 3)
YES | YES | 3.0102.2a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | Chimney Dams | $ Per Unit
|  | 3.0102.2b | Material Selection
|  | 3.0102.2c | Clearance and Isolation
|  | 3.0102.2d | Backing and Infill
|  | 3.0102.2e | Surface Preparation
|  | 3.0102.2f | Sealant Application
YES | YES | 3.0102.3a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | Sealing Tongue and Groove Surfaces | $/hr
|  | 3.0102.3b | Material Selection
|  | 3.0102.3c | Backing
|  | 3.0102.3d | Surface Preparation
|  | 3.0102.3e | Sealant Application
YES | NO | 3.0102.4a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | Sealing Firewalls | $/hr
|  | 3.0102.4b | Material Selection
|  | 3.0102.4c | Backing and Infill
|  | 3.0102.4d | Surface Preparation
|  | 3.0102.4e | Sealant Application
NO | YES | 3.0102.5a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | MH Belly Repair - Soft Bottom Patching | $/hr
|  | 3.0102.5b | Material Selection
|  | 3.0102.5c | Surface Preparation
|  | 3.0102.5d | Patch Installation
|  | 3.0102.5e | Attachment
|  | 3.0102.5f | High Temperature Application
NO | YES | 3.0102.6a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | MH Belly Repair - Soft Bottom Replacement | $/hr
|  | 3.0102.6b | Material Selection
|  | 3.0102.6c | Coverage
|  | 3.0102.6d | Seams
|  | 3.0102.6e | Attachment
|  | 3.0102.6f | Sealant Application
|  | 3.0102.6g | High Temperature Application
NO | YES | 3.0102.7a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | MH Belly Repair - Rigid Bottom Patching | $/hr
|  | 3.0102.7b | Material Selection
|  | 3.0102.7c | Surface Preparation
|  | 3.0102.7d | Support
|  | 3.0102.7e | Patch Installation
|  | 3.0102.7f | Attachment
|  | 3.0102.7g | High Temperature Application
NO | YES | 3.0102.8a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | MH Belly Repair - Rigid Bottom Replacement | $/hr
|  | 3.0102.8b | Material Selection
|  | 3.0102.8c | Support
|  | 3.0102.8d | Coverage
|  | 3.0102.8e | Attachment
|  | 3.0102.8f | Sealing
|  | 3.0102.8g | High Temperature Application
YES | YES | 3.0102.9a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | Sealing Dropped Soffits / Bulkheads | $/hr
|  | 3.0102.9b | Material Selection
|  | 3.0102.9c | Support
|  | 3.0102.9d | Surface Preparation
|  | 3.0102.9e | Install Air Barrier
|  | 3.0102.9f | Attachment
|  | 3.0102.9g | Sealant Application
|  | 3.0102.9h | High Temperature Application
YES | YES | 3.0102.10a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | Sealing Dropped Ceilings | $/hr
|  | 3.0102.10b | Material Selection
|  | 3.0102.10c | Support
|  | 3.0102.10d | Surface Preparation
|  | 3.0102.10e | Install Air Barrier
|  | 3.0102.10f | Sealant Application
|  | 3.0102.10g | High Temperature Application
AIR SEALING (Continued)
YES | YES | 3.0102.11a | Sealant Selection | General Pressure Boundary | Specific Air Sealing | Sealing Roof / Wall Connections | $/hr
|  | 3.0102.11b | Material Selection
|  | 3.0102.11c | Surface Preparation
|  | 3.0102.11d | Support
|  | 3.0102.11e | Install Air Barrier
|  | 3.0102.11f | Attachment
|  | 3.0101.11g | Sealant Application
|  | 3.0102.11h | High Temperature Application
YES | YES | 3.0103.1a | Sealant Selection | General Pressure Boundary | Intentional Attic Openings | Insulate Attic Hatch | $ Per Unit
|  | 3.0103.1b | Material Selection
|  | 3.0103.1c | Surface Preparation
|  | 3.0103.1d | Seal Framing
|  | 3.0103.1e | Seal Access Panel
|  | 3.0103.1f | Damming
|  | 3.0103.1g | Insulate Opening
|  | 3.0103.1h | Durability
YES | YES | 3.0103.1a | Sealant Selection | General Pressure Boundary | Intentional Attic Openings | Attic Hatch Dams | $ Per Unit
|  | 3.0103.1b | Material Selection
|  | 3.0103.1c | Surface Preparation
|  | 3.0103.1d | Seal Framing
|  | 3.0103.1e | Seal Access Panel
|  | 3.0103.1f | Damming
|  | 3.0103.1g | Insulate Opening
|  | 3.0103.1h | Durability
YES | YES | 3.0103.3a | Sealant Selection | General Pressure Boundary | Intentional Attic Openings | Whole-House Fan - Operable | $/hr
|  | 3.0103.3b | Material Selection
|  | 3.0103.3c | Surface Preparation
|  | 3.0103.3d | Enclosure Construction
|  | 3.0103.3e | Operable Cover
|  | 3.0103.3f | Insulation
|  | 3.0103.3g | Air Sealing
|  | 3.0103.3h | Durability
YES | YES | 3.0103.3a | Sealant Selection | General Pressure Boundary | Intentional Attic Openings | Whole House Fan - Dams | $ Per Unit
|  | 3.0103.3b | Material Selection
|  | 3.0103.3c | Surface Preparation
|  | 3.0103.3d | Enclosure Construction
|  | 3.0103.3e | Operable Cover
|  | 3.0103.3f | Insulation
|  | 3.0103.3g | Air Sealing
|  | 3.0103.3h | Durability
YES | NO | 3.0103.4a | Sealant Selection | General Pressure Boundary | Intentional Attic Openings | Tenting of Wet Sprinkler Systems | $/hr
|  | 3.0103.4b | Material Selection
|  | 3.0103.4c | Enclosure Construction
|  | 3.0103.4d | Insulation
|  | 3.0103.4e | Air Sealing
|  | 3.0103.4f | Fire Safety
YES | NO | 3.0104.1a | Pre-Work Qualifications | General Pressure Boundary | Foundation Spaces | Closed Crawlspace Air Sealing | $/hr
|  | 3.0104.1b | Sealant Selection
|  | 3.0104.1c | Material Selection
|  | 3.0104.1d | Backing and Infill
|  | 3.0104.1e | Support
|  | 3.0104.1f | Surface Preparation
|  | 3.0104.1g | Existing Vent Openings
|  | 3.0104.1h | Air Sealing
|  | 3.0104.1i | Adjacent Spaces
|  | 3.0104.1j | Fire Safety
AIR SEALING (Continued)
YES | NO | 3.0104.2a | Sealant Selection | General Pressure Boundary | Foundation Spaces | Installing New Crawlspace Access | $ Per Unit
|  | 3.0104.2b | Material Selection
|  | 3.0104.2c | Backing and Infill
|  | 3.0104.2d | Surface Preparation
|  | 3.0104.2e | Access Construction
|  | 3.0104.2f | Appliance Access
|  | 3.0104.2g | Air Sealing
|  | 3.0104.2h | Security
YES | NO | 3.0104.3a | Sealant Selection | General Pressure Boundary | Foundation Spaces | Slab Foundation Sealing | $/hr
|  | 3.0104.3b | Material Selection
|  | 3.0104.3c | Backing and Infill
|  | 3.0104.3d | Surface Preparation
|  | 3.0104.3e | Air Sealing
|  | 3.0104.3f | High Temperature Application
YES | NO | 3.0104.4a | Sealant Selection | General Pressure Boundary | Foundation Spaces | Covers for Intentional Slab Penetrations | $ Per Unit
|  | 3.0104.4b | Material Selection
|  | 3.0104.4c | Surface Preparation
|  | 3.0104.4d | Sealing Sump Pump Wells
|  | 3.0104.4e | Covering Other Water Containing Pits
YES | NO | 3.0105.1a | Sealant Selection | General Pressure Boundary | Attached Garages | Isolating Garage From Living Space | $/hr
|  | 3.0105.1b | Material Selection
|  | 3.0105.1c | Surface Preparation
|  | 3.0105.1d | Backing and Infill
|  | 3.0105.1e | General Air Sealing
|  | 3.0105.1f | Ductwork
|  | 3.0105.1g | Doors Adjacent to Conditioned Spaces
|  | 3.0105.1h | Glass Doors to Windows
|  | 3.0105.1i | High Temperature Application
YES | YES | 3.0201.1a | Sealant Selection | Shell Components | Windows | Window Air Sealing | $/hr
|  | 3.0201.1b | Material Selection
|  | 3.0201.1c | Surface Preparation
|  | 3.0201.1d | Operation and Fit
|  | 3.0201.1e | Sash Stops
|  | 3.0201.1f | Weather Stripping
|  | 3.0201.1g | Sash Locks
|  | 3.0201.1h | Exterior Weatherproofing
|  | 3.0201.1i | Safety
YES | YES | 3.0201.2a | Sealant Selection | Shell Components | Windows | Window Sash Replacement | Per Quote | N/A | N/A | N/A
|  | 3.0201.2b | Material Selection
|  | 3.0201.2c | Surface Preparation
|  | 3.0201.2d | Sash Replacement
|  | 3.0201.2e | Weatherproofing
|  | 3.0201.2f | Sash Stops
|  | 3.0201.2g | Weather Stripping
|  | 3.0201.2h | Sash Locks
|  | 3.0201.2i | Disposal
|  | 3.0201.2j | Safety
YES | YES | 3.0201.3a | Sealant Selection | Shell Components | Windows | Window Sill Replacement | Per Quote | N/A | N/A | N/A
|  | 3.0201.3b | Material Selection
|  | 3.0201.3c | Surface Preparation
|  | 3.0201.3d | Sill Replacement
|  | 3.0201.3e | Weatherproofing
|  | 3.0201.3f | Disposal
|  | 3.0201.3g | Safety
AIR SEALING (Continued)
YES | YES | 3.0201.4a | Sealant Selection | Shell Components | Windows | Glass Replacement | Per Quote | N/A | N/A | N/A
|  | 3.0201.4b | Material Selection
|  | 3.0201.4c | Surface Preparation
|  | 3.0201.4d | New Glazing Selection
|  | 3.0201.4e | New Glazing Installation
|  | 3.0201.4f | Safety
YES | YES | 3.0201.5a | Sealant Selection | Shell Components | Windows | Interior Fixed Storm Window Installation | $ Per Unit
|  | 3.0201.5b | Material Selection
|  | 3.0201.5c | Surface Preparation
|  | 3.0201.5d | Installation
|  | 3.0201.5e | Safety
YES | YES | 3.0201.6a | Sealant Selection | Shell Components | Windows | Interior Operable Storm Window Installation | $ Per Unit
|  | 3.0201.6b | Material Selection
|  | 3.0201.6c | Surface Preparation
|  | 3.0201.6d | Installation
|  | 3.0201.6e | Safety
YES | YES | 3.0201.7a | Sealant Selection | Shell Components | Windows | Exterior Fixed Storm Window Installation | $ Per Unit
|  | 3.0201.7b | Material Selection
|  | 3.0201.7c | Surface Preparation
|  | 3.0201.7d | Installation
|  | 3.0201.7e | Sealing
|  | 3.0201.7f | Safety
YES | YES | 3.0201.8a | Sealant Selection | Shell Components | Windows | Exterior Operable Storm Window | $ Per Unit
|  | 3.0201.8b | Material Selection
|  | 3.0201.8c | Surface Preparation
|  | 3.0201.8d | Installation
|  | 3.0201.8e | Sealing
|  | 3.0201.8f | Safety
YES | YES | 3.0201.9a | Sealant Selection | Shell Components | Windows | Window Replacement | Per Quote | N/A | N/A | PRICING BY QUOTE FOR PARTICULAR HOME ONLY
|  | 3.0201.9b | Material Selection
|  | 3.0201.9c | Window Selection
|  | 3.0201.9d | Opening Preparation
|  | 3.0201.9e | Installation
|  | 3.0201.9f | Safety
YES | YES | 3.0202.1a | Sealant Selection | Shell Components | Doors | Door Air Sealing | $/hr
|  | 3.0202.1b | Material Selection
|  | 3.0202.1c | Surface Preparation
|  | 3.0202.1d | Operation and Fit
|  | 3.0202.1e | Handle / Lockset
|  | 3.0202.1f | Weather Stripping
|  | 3.0202.1g | Door Stop
|  | 3.0202.1h | Exterior Weatherproofing
|  | 3.0202.1i | Safety
YES | YES | 3.0202.2a | Sealant Selection | Shell Components | Doors | Door Replacement | $ Per Unit |  |  | PRICING BY QUOTE FOR PARTICULAR HOME ONLY
|  | 3.0202.2b | Material Selection
|  | 3.0202.2c | Door Selection
|  | 3.0202.2d | Opening Preparation
|  | 3.0202.2e | Installation
|  | 3.0202.2f | Safety
YES | YES | 3.0202.3a | Hardware Selection | Shell Components | Doors | Exterior Door Handle / Lockset Installation | $ Per Unit
|  | 3.0202.3b | Installation
|  | 3.0202.3c | Safety
YES | YES | N/A |  | Shell Components | Windows | LRRP Measures for Windows | $ Per Unit
YES | YES | N/A |  | Shell Components | Windows | LRRP Measures for Doors | $ Per Unit
YES | YES | N/A |  | Shell Components | Windows | LRRP Measures for Walls | $ Per Unit
INSULATION Measures (SWS Section 4)
YES | YES | 4.0101.1a | Pre-Work Qualifications | Attics | Exterior Roof insulation | Roof Deck Insulation | $/sq. ft.
|  | 4.0101.1b | General Preparation
|  | 4.0101.1c | Material Selection
|  | 4.0101.1d | Sealant Selection
|  | 4.0101.1e | Installation
|  | 4.0101.1f | Air Sealing
|  | 4.0101.1g | Water Management
|  | 4.0101.1h | Replacement Roof Covering
|  | 4.0101.1i | Insulation - Onsite Documentation
YES | YES | 4.0102.1a | Pre-Work Qualifications | Attics | Interior Roof Insulation | SPF Roof Insulation - Unvented Roof Deck | $/sq. ft.
|  | 4.0102.1b | General Preparation
|  | 4.0102.1c | Material Selection
|  | 4.0102.1d | Surface Preparation
|  | 4.0102.1e | Installation
|  | 4.0102.1f | Ignition and Thermal Barriers
|  | 4.0102.1g | Insulation - Onsite Documentation
YES | YES | 4.0102.2a | Pre-Work Qualifications | Attics | Interior Roof Insulation | SPF Roof Insulation - Vented Roof Deck | $/ sq. ft.
|  | 4.0102.2b | General Preparation
|  | 4.0102.2c | Material Selection
|  | 4.0102.2d | Roof Decking Venting
|  | 4.0102.2e | Surface Preparation
|  | 4.0102.2f | Installation
|  | 4.0102.2g | Ignition and Thermal Barriers
|  | 4.0102.2h | Insulation - Onsite Documentation
YES | YES | 4.0102.3a | Pre-Work Qualifications | Attics | Interior Roof Insulation | Inaccessible Ceilings - Dense Pack - Blown Cellulose | $/ sq. ft.
|  | 4.0102.3b | General Preparation
|  | 4.0102.3c | Material Selection
|  | 4.0102.3d | Installation
|  | 4.0102.3e | Close Access Hole
|  | 4.0102.3f | Insulation - Onsite Documentation
YES | YES | 4.0102.3a | Pre-Work Qualifications | Attics | Interior Roof Insulation | Inaccessible Ceilings - Dense Pack - Blown Fiberglass | $/ sq. ft.
|  | 4.0102.3b | General Preparation
|  | 4.0102.3c | Material Selection
|  | 4.0102.3d | Installation
|  | 4.0102.3e | Close Access Hole
|  | 4.0102.3f | Insulation - Onsite Documentation
YES | NO | 4.0103.1a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Accessible Attic Insulation - Fiberglass Batts | $/ sq. ft.
|  | 4.0103.1b | Material Selection
|  | 4.0103.1c | General Preparation
|  | 4.0103.1d | Installation
|  | 4.0103.1e | Insulation - Onsite Documentation
YES | NO | 4.0103.2a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Accessible Attic Insulation - Blown Fiberglass | $/ sq. ft.
|  | 4.0103.2b | Material Selection
|  | 4.0103.2c | General Preparation
|  | 4.0103.2d | Installation
|  | 4.0103.2e | Insulation - Onsite Documentation
YES | NO | 4.0103.2a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Accessible Attic Insulation - Blown Cellulose | $/ sq. ft.
|  | 4.0103.2b | Material Selection
|  | 4.0103.2c | General Preparation
|  | 4.0103.2d | Installation
|  | 4.0103.2e | Insulation - Onsite Documentation
YES | NO | 4.0103.3a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Accessible Attic Insulation - Fiberglass Batts Over Existing Insulation | $/ sq. ft.
|  | 4.0103.3b | General Preparation
|  | 4.0103.3c | Material Selection
|  | 4.0103.3d | Installation
|  | 4.0103.3e | Insulation - Onsite Documentation
INSULATION (continued)
YES | NO | 4.0103.4a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Accessible Attic Insulation - Blown Fiberglass Over Existing Insulation | $/ sq. ft.
|  | 4.0103.4b | Material Selection
|  | 4.0103.4c | General Preparation
|  | 4.0103.4d | Installation
|  | 4.0103.4e | Insulation - Onsite Documentation
YES | NO | 4.0103.4a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Accessible Attic Insulation - Blown Cellulose Over Existing Insulation | $/ sq. ft.
|  | 4.0103.4b | Material Selection
|  | 4.0103.4c | General Preparation
|  | 4.0103.4d | Installation
|  | 4.0103.4e | Insulation - Onsite Documentation
YES | NO | 4.0103.5a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Accessible Attic Insulation - SPF on Attic Floor | $/ sq. ft.
|  | 4.0103.5b | Material Selection
|  | 4.0103.5c | General Preparation
|  | 4.0103.5d | Surface Preparation
|  | 4.0103.5e | Installation
|  | 4.0103.5f | Ignition and Thermal Barriers
|  | 4.0103.5g | Insulation - Onsite Documentation
YES | NO | 4.0103.7a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Accessible Pitched / Vaulted / Cathedral zed Ceilings - Blown Cellulose | $/ sq. ft.
|  | 4.0103.7b | Material Selection
|  | 4.0103.7c | General Preparation
|  | 4.0103.7d | Cellulose Installation
|  | 4.0103.7e | Fiberglass Installation
|  | 4.0103.7f | Insulation - Onsite Documentation
YES | YES | 4.0103.8a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | Blown Cellulose to Capacity | $/ sq. ft.
|  | 4.0103.8b | General Preparation
|  | 4.0103.8c | Material Selection
|  | 4.0103.8d | Installation
|  | 4.0103.8e | Close Access Hole
|  | 4.0103.8f | Insulation - Onsite Documentation
NO | YES | 4.0103.9a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Cellulose Insulation for Flat, Bowed, or Vaulted Ceilings (via Gable End Access) | $/ sq. ft.
|  | 4.0103.9b | Material Selection
|  | 4.0103.9c | Access
|  | 4.0103.9d | Installation
|  | 4.0102.9e | Close Access
|  | 4.0103.9f | Insulation - Onsite Documentation
NO | YES | 4.0103.9a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Fiberglass Insulation for Flat, Bowed, or Vaulted Ceilings (via Gable End Access) | $/ sq. ft.
|  | 4.0103.9b | Material Selection
|  | 4.0103.9c | Access
|  | 4.0103.9d | Installation
|  | 4.0102.9e | Close Access
|  | 4.0103.9f | Insulation - Onsite Documentation
NO | YES | 4.0103.10a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Cellulose Insulation for Flat, Bowed, or Vaulted Ceilings (via Roof Side Lift) | $/ sq. ft.
|  | 4.0103.10b | Material Selection
|  | 4.0103.10c | Access
|  | 4.0103.10d | Installation
|  | 4.0103.10e | Close Access
|  | 4.0103.10f | Insulation - Onsite Documentation
NO | YES | 4.0103.10a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Fiberglass Insulation for Flat, Bowed, or Vaulted Ceilings (via Roof Side Lift) | $/ sq. ft.
|  | 4.0103.10b | Material Selection
|  | 4.0103.10c | Access
|  | 4.0103.10d | Installation
|  | 4.0103.10e | Close Access
|  | 4.0103.10f | Insulation - Onsite Documentation
INSULATION (continued)
NO | YES | 4.0103.11a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Insulation Cellulose for Flat, Bowed, or Vaulted Ceilings (via Roof Top Access) | $/ sq. ft.
|  | 4.0103.11b | Material Selection
|  | 4.0103.11c | Sealant Selection
|  | 4.0103.11d | Access
|  | 4.0103.11e | Installation
|  | 4.0103.11f | Close Access
|  | 4.0103.11g | Insulation - Onsite Documentation
NO | YES | 4.0103.11a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Insulation Fiberglass for Flat, Bowed, or Vaulted Ceilings (via Roof Top Access) | $/ sq. ft.
|  | 4.0103.11b | Material Selection
|  | 4.0103.11c | Sealant Selection
|  | 4.0103.11d | Access
|  | 4.0103.11e | Installation
|  | 4.0103.11f | Close Access
|  | 4.0103.11g | Insulation - Onsite Documentation
NO | YES | 4.0103.12a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Insulation Cellulose for Flat, Bowed, or Vaulted Ceilings (via Interior Access Through the Ceiling) | $/ sq. ft.
|  | 4.0103.12b | Material Selection
|  | 4.0103.12c | Sealant Selection
|  | 4.0103.12d | General Preparation
|  | 4.0103.12e | Access
|  | 4.0103.12f | Installation
|  | 4.0103.12g | Close Access
|  | 4.0103.12h | Insulation - Onsite Documentation
NO | YES | 4.0103.12a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Insulation Fiberglass for Flat, Bowed, or Vaulted Ceilings (via Interior Access Through the Ceiling) | $/ sq. ft.
|  | 4.0103.12b | Material Selection
|  | 4.0103.12c | Sealant Selection
|  | 4.0103.12d | General Preparation
|  | 4.0103.12e | Access
|  | 4.0103.12f | Installation
|  | 4.0103.12g | Close Access
|  | 4.0103.12h | Insulation - Onsite Documentation
NO | YES | 4.0103.13a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Cellulose Insulation in Roof - Over Construction | $/ sq. ft.
|  | 4.0103.13b | Material Selection
|  | 4.0103.13c | Sealant Selection
|  | 4.0103.13d | General Preparation
|  | 4.0103.13e | Access
|  | 4.0103.13f | Installation
|  | 4.0103.13g | Close Access
|  | 4.0103.13h | Insulation - Onsite Documentation
NO | YES | 4.0103.13a | Pre - Work Qualifications | Attics | Attic Floors - Unconditioned Attics | MH - Blown Fiberglass Insulation in Roof - Over Construction | $/ sq. ft.
|  | 4.0103.13b | Material Selection
|  | 4.0103.13c | Sealant Selection
|  | 4.0103.13d | General Preparation
|  | 4.0103.13e | Access
|  | 4.0103.13f | Installation
|  | 4.0103.13g | Close Access
|  | 4.0103.13h | Insulation - Onsite Documentation
YES | YES | 4.0104.1a | Pre - Work Qualifications | Attics | Attic Knee Walls | Knee Wall Insulation - Dense Packing - Blown Fiberglass | $/ sq. ft.
|  | 4.0104.1b | Material Selection
|  | 4.0104.1c | General Preparation
|  | 4.0104.1d | Install Backing
|  | 4.0104.1e | Installation
|  | 4.0104.1f | Close Access Hole
|  | 4.0104.1g | Ignition and Thermal Barriers
|  | 4.0104.1h | Insulation - Onsite Documentation
INSULATION (continued)
YES | YES | 4.0104.1a | Pre - Work Qualifications | Attics | Attic Knee Walls | Knee Wall Insulation - Dense Packing - Blown Cellulose | $/ sq. ft.
|  | 4.0104.1b | Material Selection
|  | 4.0104.1c | General Preparation
|  | 4.0104.1d | Install Backing
|  | 4.0104.1e | Installation
|  | 4.0104.1f | Close Access Hole
|  | 4.0104.1g | Ignition and Thermal Barriers
|  | 4.0104.1h | Insulation - Onsite Documentation
YES | YES | 4.0104.2a | Pre - Work Qualifications | Attics | Attic Knee Walls | Knee Wall Insulation - Fiberglass Batts | $/ sq. ft.
|  | 4.0104.2b | Material Selection
|  | 4.0104.2c | General Preparation
|  | 4.0104.2d | Batt Installation
|  | 4.0104.2e | Install Backing
|  | 4.0104.2f | Ignition and Thermal Barriers
|  | 4.0104.2g | Insulation - Onsite Documentation
YES | YES | 4.0104.3a | Pre - Work Qualifications | Attics | Attic Knee Walls | Knee Wall - Existing Batt Insulation Repair | $/ sq. ft.
|  | 4.0104.3b | Material Selection
|  | 4.0104.3c | General Preparation
|  | 4.0104.3d | Install Backing
|  | 4.0104.3e | Ignition and Thermal Barriers
|  | 4.0104.3f | Insulation - Onsite Documentation
YES | YES | 4.0104.4a | Pre - Work Qualifications | Attics | Attic Knee Walls | Knee Wall Insulation - Rigid Foam Board | $/ sq. ft.
|  | 4.0104.4b | Material Selection
|  | 4.0104.4c | General Preparation
|  | 4.0104.4d | Installation
|  | 4.0104.4e | Ignition and Thermal Barriers
|  | 4.0104.4f | Insulation - Onsite Documentation
YES | YES | 4.0104.4a | Pre - Work Qualifications | Attics | Attic Knee Walls | Insulate Kneewall Door | $ Per Unit
|  | 4.0104.4b | Material Selection
|  | 4.0104.4c | General Preparation
|  | 4.0104.4d | Installation
|  | 4.0104.4e | Ignition and Thermal Barriers
|  | 4.0104.4f | Insulation - Onsite Documentation
YES | YES | 4.0104.5a | Pre - Work Qualifications | Attics | Attic Knee Walls | Knee Wall - SPF With No Existing Insulation | $/ sq. ft.
|  | 4.0104.5b | Material Selection
|  | 4.0104.5c | General Preparation
|  | 4.0104.5d | Surface Preparation
|  | 4.0104.5e | Installation
|  | 4.0104.5f | Ignition and Thermal Barriers
|  | 4.0101.5g | Insulation - Onsite Documentation
YES | YES | 4.0104.6a | Pre - Work Qualifications | Attics | Attic Knee Walls | Knee Wall - SPF With Existing Insulation | $/ sq. ft.
|  | 4.0104.6b | Material Selection
|  | 4.0104.6c | General Preparation
|  | 4.0104.6d | Surface Preparation
|  | 4.0104.6e | Installation
|  | 4.0104.6f | Ignition and Thermal Barriers
|  | 4.0104.6g | Insulation - Onsite Documentation
YES | YES | 4.0188.1a | Pre - Work Qualifications | Attics | Unique Installations | Radiant Barriers | $/ sq. ft.
|  | 4.0188.1b | Material Selection
|  | 4.0188.1c | Installation
|  | 4.0188.1d | Air Space
|  | 4.0188.1e | Sealing
|  | 4.0188.1f | Ventilation
|  | 4.0188.1g | Insulation - Onsite Documentation
INSULATION (continued)
YES | YES | 4.0188.1a | Pre - Work Qualifications | Attics | Unique Installations | Aluminum Soffit Vents (8" x 16") | $ Per Unit
|  | 4.0188.1b | Material Selection
|  | 4.0188.1c | Installation
|  | 4.0188.1d | Air Space
|  | 4.0188.1e | Sealing
|  | 4.0188.1f | Ventilation
YES | YES | 4.0188.1a | Pre - Work Qualifications | Attics | Unique Installations | Propavents (Attic Insulation) | $ Per Unit
|  | 4.0188.1b | Material Selection
|  | 4.0188.1c | Installation
|  | 4.0188.1d | Air Space
|  | 4.0188.1e | Sealing
|  | 4.0188.1f | Ventilation
YES | YES | 4.0188.1a | Pre - Work Qualifications | Attics | Unique Installations | Aluminum Gable Vents (12" x 12") | $ Per Unit
|  | 4.0188.1b | Material Selection
|  | 4.0188.1c | Installation
|  | 4.0188.1d | Air Space
|  | 4.0188.1e | Sealing
|  | 4.0188.1f | Ventilation
YES | YES | 4.0201.1a | Pre - Work Qualifications | Walls | Accessible Walls | SPF Insulation | $/ sq ft.
|  | 4.0201.1b | Material Selection
|  | 4.0201.1c | General Preparation
|  | 4.0201.1d | Surface Preparation
|  | 4.0201.1e | Installation
|  | 4.0201.1f | Ignition and Thermal Barriers
|  | 4.0201.1g | Insulation - Onsite Documentation
YES | YES | 4.0201.2a | Pre - Work Qualifications | Walls | Accessible Walls | Wall Insulation - Fiberglass Batts | $/ sq. ft.
|  | 4.0201.2b | Material Selection
|  | 4.0201.2c | General Preparation
|  | 4.0201.2d | Batt Installation
|  | 4.0201.2e | Install Backing
|  | 4.0201.2f | Ignition and Thermal Barriers
|  | 4.0201.2g | Insulation - Onsite Documentation
YES | YES | 4.0201.3a | Pre - Work Qualifications | Walls | Accessible Walls | Wall Insulation - Blown Cellulose | $/ sq. ft.
|  | 4.0201.3b | Material Selection
|  | 4.0201.3c | General Preparation for Dense Packed Insulation
|  | 4.0201.3d | Install Backing
|  | 4.0201.3e | Installation
|  | 4.0201.3f | Close Access Hole
|  | 4.0201.3g | Ignition and Thermal Barriers
|  | 4.0201.3h | Insulation - Onsite Documentation
YES | YES | 4.0202.1a | Pre - Work Qualifications | Walls | Enclosed Walls | Wall Insulation - Blown Fiberglass | $/ sq. ft.
|  | 4.0202.1b | Material Selection
|  | 4.0202.1c | General Preparation
|  | 4.0202.1d | Sealant Selection
|  | 4.0202.1e | Access Cavity
|  | 4.0202.1f | Installation
|  | 4.0202.1g | Close Access Hole
|  | 4.0202.1h | Insulation - Onsite Documentation
INSULATION (continued)
YES | YES | 4.0202.2a | Pre - Work Qualifications | Walls | Enclosed Walls | Exterior Rigid Insulation | $/ sq. ft.
|  | 4.0202.2b | Sealant Selection
|  | 4.0202.2c | General Preparation
|  | 4.0202.2d | Water Management System
|  | 4.0202.2e | Installation
|  | 4.0202.2f | Exterior Cladding Replacement
|  | 4.0202.2g | Fire Safety
|  | 4.0202.2h | Insulation - Onsite Documentation
NO | YES | 4.0202.3a | Pre - Work Qualifications | Walls | Enclosed Walls | MH Insulation - Fiberglass Batts | $/ sq. ft.
|  | 4.0202.3b | Material Selection
|  | 4.0202.3c | General Preparation
|  | 4.0202.3d | Access Cavities
|  | 4.0202.3e | Installation
|  | 4.0202.3f | Close Cavities
|  | 4.0202.3g | Insulation - Onsite Documentation
NO | YES | 4.0202.4a | Pre - Work Qualifications | Walls | Enclosed Walls | MH Insulation - Blown Cellulose | $/ sq. ft.
|  | 4.0202.4b | Material Selection
|  | 4.0202.4c | General Preparation
|  | 4.0202.4d | Access Cavities
|  | 4.0202.4e | Installation
|  | 4.0202.4f | Close Cavities
|  | 4.0202.4g | Insulation - Onsite Documentation
NO | YES | 4.0202.4a | Pre - Work Qualifications | Walls | Enclosed Walls | MH Insulation - Blown Fiberglass | $/ sq. ft.
|  | 4.0202.4b | Material Selection
|  | 4.0202.4c | General Preparation
|  | 4.0202.4d | Access Cavities
|  | 4.0202.4e | Installation
|  | 4.0202.4f | Close Cavities
|  | 4.0202.4g | Insulation - Onsite Documentation
NO | YES | 4.0202.5a | Pre - Work Qualifications | Walls | Enclosed Walls | MH Insulation - Blown Fiberglass Through Penetrations | $/ sq. ft.
|  | 4.0202.5b | Material Selection
|  | 4.0202.5c | Sealant Selection
|  | 4.0202.5d | General Preparation for Blown Wall Insulation
|  | 4.0202.5e | Access Cavity
|  | 4.0202.5f | Blow Insulation
|  | 4.0202.5g | Close Access Hole
|  | 4.0202.5h | Insulation - Onsite Documentation
NO | YES | 4.0202.6a | Pre - Work Qualifications | Walls | Enclosed Walls | SPF Insulation in Closed Cavities | $/ sq. ft.
|  | 4.0202.6b | Material Selection
|  | 4.0202.6c | Sealant Selection
|  | 4.0202.6d | General Preparation
|  | 4.0202.6e | Surface Preparation
|  | 4.0202.6f | Access
|  | 4.0202.6g | Installation
|  | 4.0202.6h | Closure
|  | 4.0202.6i | Ignition and Thermal Barriers
|  | 4.0202.6j | Insulation - Onsite Documentation
YES | YES | 4.0301.1a | Pre - Work Qualifications | Floors | Accessible Floors | Fiberglass Batt Insulation in Joisted Cavities | $/ sq. ft.
|  | 4.0301.1b | Material Selection
|  | 4.0301.1c | General Preparation
|  | 4.0301.1d | N/A
|  | 4.0301.1e | Secure Batts
|  | 4.0301.1f | Insulation - Onsite Documentation
INSULATION (continued)
YES | YES | 4.0301.2a | Pre - Work Qualifications | Floors | Accessible Floors | Blown Fiberglass With Netting/Fabric in Joisted Cavities | $/ sq. ft.
|  | 4.0301.2b | Material Selection
|  | 4.0301.2c | General Preparation
|  | 4.0301.2d | Install Netting / Fabric
|  | 4.0301.2e | Installation
|  | 4.0301.2f | Close Access Hole
|  | 4.0301.2g | Insulation - Onsite Documentation
YES | YES | 4.0301.2a | Pre - Work Qualifications | Floors | Accessible Floors | Blown Cellulose With Netting/Fabric in Joisted Cavities | $/ sq. ft.
|  | 4.0301.2b | Material Selection
|  | 4.0301.2c | General Preparation
|  | 4.0301.2d | Install Netting / Fabric
|  | 4.0301.2e | Installation
|  | 4.0301.2f | Close Access Hole
|  | 4.0301.2g | Insulation - Onsite Documentation
YES | YES | 4.0301.3a | Pre - Work Qualifications | Floors | Accessible Floors | Blown Cellulose in Joisted Cavities With Rigid Barrier | $/ sq. ft.
|  | 4.0301.3b | Material Selection
|  | 4.0301.3c | Sealant Selection
|  | 4.0301.3d | General Preparation
|  | 4.0301.3e | Install Rigid Barrier
|  | 4.0301.3f | Installation
|  | 4.0301.3g | Close Access Hole
|  | 4.0301.3h | Ignition and Thermal Barriers
|  | 4.0301.3i | Insulation - Onsite Documentation
YES | YES | 4.0301.4a | Pre - Work Qualifications | Floors | Accessible Floors | Blown Fiberglass in Joisted Cavities With Rigid Barrier | $/ sq. ft.
|  | 4.0301.4b | Material Selection
|  | 4.0301.4c | Sealant Selection
|  | 4.0301.4d | General Preparation
|  | 4.0301.4e | Install Rigid Barrier
|  | 4.0301.4f | Installation
|  | 4.0301.4g | Close Access Hole
|  | 4.0301.4h | Ignition and Thermal Barriers
|  | 4.0301.4i | Insulation - Onsite Documentation
YES | YES | 4.0301.5a | Pre - Work Qualifications | Floors | Accessible Floors | SPF in Open Joisted Cavities | $/ sq. ft.
|  | 4.0301.5b | Material Selection
|  | 4.0301.5c | General Preparation
|  | 4.0301.5d | Surface Preparation
|  | 4.0301.5e | Installation
|  | 4.0301.5f | Ignition and Thermal Barriers
|  | 4.0301.5g | Insulation - Onsite Documentation
YES | YES | 4.0301.6a | Pre - Work Qualifications | Floors | Accessible Floors | Cantilever Floor Joisted Cavities Batt Insulation | $/ sq. ft.
|  | 4.0301.6b | Material Selection
|  | 4.0301.6c | General Preparation
|  | 4.0301.6d | Batt Installation
|  | 4.0301.6e | Secure Batts
|  | 4.0301.6f | Enclose Cavity
|  | 4.0301.6g | Exterior Soffit
|  | 4.0301.6h | Insulation - Onsite Documentation
YES | NO | 4.0301.7a | Pre - Work Qualifications | Floors | Accessible Floors | Non - Joisted Floors Fiberglass Batt Insulation | $/ sq. ft.
|  | 4.0301.7b | Material Selection
|  | 4.0301.7c | General Preparation
|  | 4.0301.7d | Installation
|  | 4.0301.7e | Support
|  | 4.0301.7f | Insulation - Onsite Documentation
INSULATION (continued)
YES | NO | 4.0301.8a | Pre - Work Qualifications | Floors | Accessible Floors | Non - Joisted Floors Rigid Foam Board | $/ sq. ft.
|  | 4.0301.8b | Material Selection
|  | 4.0301.8c | Sealant Selection
|  | 4.0301.8d | General Preparation
|  | 4.0301.8e | Installation
|  | 4.0301.8f | Sealing
|  | 4.0301.8g | Support
|  | 4.0301.8h | Ignition and Thermal Barriers
|  | 4.0301.8i | Insulation - Onsite Documentation
YES | NO | 4.0301.9a | Pre - Work Qualifications | Floors | Accessible Floors | Non - Joisted Floors SPF | $/ sq. ft.
|  | 4.0301.9b | Material Selection
|  | 4.0301.9c | General Preparation
|  | 4.0301.9d | Surface Preparation
|  | 4.0301.9e | Installation
|  | 4.0301.9f | Ignition and Thermal Barriers
|  | 4.0301.9g | Insulation - Onsite Documentation
YES | YES | 4.0302.1a | Pre - Work Qualifications | Floors | Exposed Floors | Fiberglass Batt Insulation With Rigid Barrier | $/ sq. ft.
|  | 4.0302.1b | Material Selection
|  | 4.0302.1c | Sealant Selection
|  | 4.0302.1d | General Preparation
|  | 4.0302.1e | Batt Installation
|  | 4.0302.1f | Secure Batts
|  | 4.0302.1g | Rigid Protective Barrier
|  | 4.0302.1h | Sealing and Rodent Proofing
|  | 4.0302.1i | Weather - Resistant Barrier
|  | 4.0302.1j | Insulation - Onsite Documentation
YES | YES | 4.0302.2a | Pre - Work Qualifications | Floors | Exposed Floors | Loose Fill With Rigid Barrier - Blown Fiberglass | $/ sq. ft.
|  | 4.0302.2b | Material Selection
|  | 4.0302.2c | Sealant Selection
|  | 4.0302.2d | General Preparation
|  | 4.0302.2e | Rigid Protective Barrier
|  | 4.0302.2f | Installation
|  | 4.0302.2g | Close Access Hole
|  | 4.0302.2h | Sealing and Rodent Proofing
|  | 4.0302.2i | Weather - Resistant Barrier
|  | 4.0302.2j | Insulation - Onsite Documentation
YES | YES | 4.0302.2a | Pre - Work Qualifications | Floors | Exposed Floors | Loose Fill With Rigid Barrier - Blown Cellulose | $/ sq. ft.
|  | 4.0302.2b | Material Selection
|  | 4.0302.2c | Sealant Selection
|  | 4.0302.2d | General Preparation
|  | 4.0302.2e | Rigid Protective Barrier
|  | 4.0302.2f | Installation
|  | 4.0302.2g | Close Access Hole
|  | 4.0302.2h | Sealing and Rodent Proofing
|  | 4.0302.2i | Weather - Resistant Barrier
|  | 4.0302.2j | Insulation - Onsite Documentation
YES | YES | 4.0302.3a | Pre - Work Qualifications | Floors | Exposed Floors | Dense Pack With Rigid Barrier - Blown Fiberglass | $/ sq. ft.
|  | 4.0302.3b | Material Selection
|  | 4.0302.3c | Sealant Selection
|  | 4.0302.3d | General Preparation
|  | 4.0302.3e | Rigid Protective Barrier
|  | 4.0302.3f | Installation
|  | 4.0302.3g | Close Access Hole
|  | 4.0302.3h | Sealing and Rodent Proofing
|  | 4.0302.3i | Weather - Resistant Barrier
|  | 4.0302.3j | Insulation - Onsite Documentation
INSULATION (continued)
YES | YES | 4.0302.3a | Pre - Work Qualifications | Floors | Exposed Floors | Dense Pack With Rigid Barrier - Blown Cellulose | $/ sq. ft.
|  | 4.0302.3b | Material Selection
|  | 4.0302.3c | Sealant Selection
|  | 4.0302.3d | General Preparation
|  | 4.0302.3e | Rigid Protective Barrier
|  | 4.0302.3f | Installation
|  | 4.0302.3g | Close Access Hole
|  | 4.0302.3h | Sealing and Rodent Proofing
|  | 4.0302.3i | Weather - Resistant Barrier
|  | 4.0302.3j | Insulation - Onsite Documentation
YES | YES | 4.0302.4a | Pre - Work Qualifications | Floors | Exposed Floors | SPF With Rigid Barrier | $/ sq. ft.
|  | 4.0302.4b | Material Selection
|  | 4.0302.4c | Sealant Selection
|  | 4.0302.4d | General Preparation
|  | 4.0302.4e | Surface Preparation
|  | 4.0302.4f | Rigid Protective Barrier
|  | 4.0302.4g | Installation
|  | 4.0302.4h | Sealing and Rodent Proofing
|  | 4.0302.4i | Weather - Resistant Barrier
|  | 4.0302.4j | Ignition and Thermal Barriers
|  | 4.0302.4k | Insulation - Onsite Documentation
YES | YES | 4.0302.5a | Pre - Work Qualifications | Floors | Exposed Floors | Rigid Insulation on Joists | $/ sq. ft.
|  | 4.0302.5b | Material Selection
|  | 4.0302.5c | Sealant Selection
|  | 4.0302.5d | General Preparation
|  | 4.0302.5e | Installation
|  | 4.0302.5f | Rigid Protective Barrier
|  | 4.0302.5g | Sealing and Rodent Proofing
|  | 4.0302.5h | Weather - Resistant Barrier
|  | 4.0302.5i | Ignition and Thermal Barriers
|  | 4.0302.5j | Insulation - Onsite Documentation
YES | NO | 4.0302.6a | Pre - Work Qualifications | Floors | Exposed Floors | Non - Joisted Floors Fiberglass Batt Insulation | $/ sq. ft.
|  | 4.0302.6b | Material Selection
|  | 4.0302.6c | Sealant Selection
|  | 4.0302.6d | General Preparation
|  | 4.0302.6e | Installation
|  | 4.0302.6f | Secure Batts
|  | 4.0302.6g | Rigid Protective Barrier
|  | 4.0302.6h | Sealing and Rodent Proofing
|  | 4.0302.6i | Weather - Resistant Barrier
|  | 4.0302.6j | Insulation - Onsite Documentation
YES | NO | 4.0302.7a | Pre - Work Qualifications | Floors | Exposed Floors | Non - Joisted Floors Rigid Foam Board Insulation | $/ sq. ft.
|  | 4.0302.7b | Material Selection
|  | 4.0302.7c | Sealant Selection
|  | 4.0302.7d | General Preparation
|  | 4.0302.7e | Installation
|  | 4.0302.7f | Rigid Protective Barrier
|  | 4.0302.7g | Sealing and Rodent Proofing
|  | 4.0302.7h | Weather - Resistant Barrier
|  | 4.0302.7i | Ignition and Thermal Barriers
|  | 4.0302.7j | Insulation - Onsite Documentation
INSULATION (continued)
YES | NO | 4.0302.8a | Pre - Work Qualifications | Floors | Exposed Floors | Non - Joisted Floors SPF Insulation | $/ sq. ft.
|  | 4.0302.8b | Material Selection
|  | 4.0302.8c | Sealant Selection
|  | 4.0302.8d | General Preparation
|  | 4.0302.8e | Surface Preparation
|  | 4.0302.8f | Installation
|  | 4.0302.8g | Rigid Protective Barrier
|  | 4.0302.8h | Sealing and Rodent Proofing
|  | 4.0302.8i | Weather - Resistant Barrier
|  | 4.0302.8j | Ignition and Thermal Barriers
|  | 4.0302.8k | Insulation - Onsite Documentation
NO | YES | 4.0302.9a | Pre - Work Qualifications | Floors | Exposed Floors | MH - Blown Fiberglass Belly Insulation | $/ sq. ft.
|  | 4.0302.9b | Material Selection
|  | 4.0302.9c | Sealant Selection
|  | 4.0302.9d | Installation
|  | 4.0302.9e | Close Access Hole
|  | 4.0302.9f | Insulation - Onsite Documentation
NO | YES | 4.0302.9a | Pre - Work Qualifications | Floors | Exposed Floors | MH - Blown Cellulose Belly Insulation | $/ sq. ft.
|  | 4.0302.9b | Material Selection
|  | 4.0302.9c | Sealant Selection
|  | 4.0302.9d | Installation
|  | 4.0302.9e | Close Access Hole
|  | 4.0302.9f | Insulation - Onsite Documentation
YES | YES | 4.0388.1a | Pre - Work Qualifications | Floors | Unique Installations | Foundation Skirting | $/ sq. ft.
|  | 4.0388.1b | Material Selection
|  | 4.0388.1c | Sealant Selection
|  | 4.0388.1d | General Preparation
|  | 4.0388.1e | Coverage
|  | 4.0388.1f | Support
|  | 4.0388.1g | Fastening
|  | 4.0388.1h | Flashing
|  | 4.0388.1i | Insulation
|  | 4.0388.1j | Sealing and Rodent Proofing
|  | 4.0388.1k | Insulation - Onsite Documentation
YES | no | 4.0401.1a | Pre - Work Qualifications | Conditioned Subspaces | Rim / Band Joist | SPF Insulation | $/ sq. ft.
|  | 4.0401.1b | Material Selection
|  | 4.0401.1c | General Preparation
|  | 4.0401.1d | Surface Preparation
|  | 4.0401.1e | Installation
|  | 4.0401.1f | Ignition and Thermal Barriers
|  | 4.0401.1g | Insulation - Onsite Documentation
YES | NO | 4.0401.2a | Pre - Work Qualifications | Conditioned Subspaces | Rim / Band Joist | Rim Joist Insulation - Fiberglass Batts | $/ sq. ft.
|  | 4.0401.2b | Material Selection
|  | 4.0401.2c | Sealant Selection
|  | 4.0401.2d | General Preparation
|  | 4.0401.2e | Batt Installation
|  | 4.0401.2f | Sealing
|  | 4.0401.2g | Insulation - Onsite Documentation
YES | NO | 4.0401.3a | Pre - Work Qualifications | Conditioned Subspaces | Rim / Band Joist | Rim Joist Insulation - Rigid Foam Board | $/ sq. ft.
|  | 4.0401.3b | Material Selection
|  | 4.0401.3c | General Preparation
|  | 4.0401.3d | Batt Installation
|  | 4.0401.3e | Sealing
|  | 4.0401.3f | Ignition and Thermal Barriers
|  | 4.0401.3g | Insulation - Onsite Documentation
INSULATION (continued)
YES | NO | 4.0402.1a | Pre - Work Qualifications | Conditioned Subspaces | Walls | Closed Crawlspace - Non - Foam Insulation | $/ sq. ft.
|  | 4.0402.1b | Material Selection
|  | 4.0402.1c | Sealant Selection
|  | 4.0402.1d | General Preparation
|  | 4.0402.1e | Installation
|  | 4.0402.1f | Attachment
|  | 4.0402.1g | Sealing
|  | 4.0402.1h | Termite Inspection CAP
|  | 4.0402.1i | Insulation - Onsite Documentation
YES | NO | 4.0402.2a | Pre - Work Qualifications | Conditioned Subspaces | Walls | Closed Crawlspace - Rigid Foam Insulation | $/ sq. ft.
|  | 4.0402.2b | Material Selection
|  | 4.0402.2c | Sealant Selection
|  | 4.0402.2d | General Preparation
|  | 4.0402.2e | Surface Preparation
|  | 4.0402.2f | Installation
|  | 4.0402.2g | Attachment
|  | 4.0402.2h | Sealing
|  | 4.0402.2i | Termite Inspection CAP
|  | 4.0402.2j | Ignition and Thermal Barriers
|  | 4.0402.2k | Insulation - Onsite Documentation
YES | NO | 4.0402.3a | Pre-Work Qualifications | Conditioned Subspaces | Walls | Closed Crawlspace - SPF Insulation | $/ sq. ft.
|  | 4.0402.3b | Material Selection
|  | 4.0402.3c | Sealant Selection
|  | 4.0402.3d | General Preparation
|  | 4.0402.3e | Surface Preparation
|  | 4.0402.3f | Installation
|  | 4.0402.3g | Sealing
|  | 4.0402.3h | Termite Inspection CAP
|  | 4.0404.3i | Ignition and Thermal Barriers
|  | 4.0404.3j | Insulation - Onsite Documentation
YES | NO | 4.0402.4a | Pre-Work Qualifications | Conditioned Subspaces | Walls | Basements - Without Groundwater Leakage | $/ sq. ft.
|  | 4.0402.4b | Material Selection
|  | 4.0402.4c | Sealant Selection
|  | 4.0402.4d | General Preparation
|  | 4.0402.4e | Installation
|  | 4.0402.4f | Attachment
|  | 4.0402.4g | Sealing
|  | 4.0402.4h | Termite Inspection CAP
|  | 4.0402.4i | Ignition and Thermal Barriers
|  | 4.0402.4j | Insulation - Onsite Documentation
YES | NO | 4.0402.5a | Pre - Work Qualifications | Conditioned Subspaces | Walls | Basements - With Groundwater Leakage | $/ sq. ft.
|  | 4.0402.5b | Material Selection
|  | 4.0402.5c | Drainage
|  | 4.0402.5d | Installation
|  | 4.0402.5e | Termite Inspection CAP
|  | 4.0402.5f | Attachment
|  | 4.0402.5g | Sealing
|  | 4.0402.5h | Ignition and Thermal Barriers
|  | 4.0402.5i | Vapor Retarders
|  | 4.0402.5j | Insulation - Onsite Documentation
INSULATION (continued)
YES | NO | 4.0403.1a | Pre - Work Qualifications | Conditioned Subspaces | Slabs | Raised and On - Grade Slab Edge Insulation | $/ sq. ft.
|  | 4.0403.1b | Material Selection
|  | 4.0403.1c | Sealant Selection
|  | 4.0403.1d | General Preparation
|  | 4.0403.1e | Excavation
|  | 4.0403.1f | Installation
|  | 4.0403.1g | Flashing
|  | 4.0403.1h | Protective Covering
|  | 4.0403.1i | Sealing and Pest Protection
|  | 4.0403.1j | Termites
|  | 4.0403.1k | Back Fill
|  | 4.0403.1l | Insulation - Onsite Documentation
YES | YES | N/A |  | Conditioned Subspaces | Unique Installations | Insulate Vertical Door | $ Per Unit
YES | YES | N/A |  | Conditioned Subspaces | Unique Installations | Insulate Interior Bulkhead Door | $ Per Unit
HEATING AND COOLING SWS Section 5
YES | YES | 5.0401.1a | Plant Selection | Solar Gain Reduction | Landscaping | Indigenous Shading | Per Quote | N/A | N/A | N/A
|  | 5.0401.1b | Plant Size
YES | YES | 5.0402.1a | Material Selection | Solar Gain Reduction | Reflective Roofs | Reflective Roof Coatings | $/ sq. ft.
|  | 5.0402.1b | Preparation
|  | 5.0402.1c | Application
YES | YES | 5.0501.1a | Air sealing | Combustion Safety | Combustion Appliance Zones | Isolate CAZ | $/hr
|  | 5.0501.1b | Ductwork
|  | 5.0501.1c | Plumbing
|  | 5.0501.1d | Walls / Floors / Ceilings
|  | 5.0501.1e | Combustion Air
VENTILATION Measures SWS Section 5
YES | YES | 6.0101.4a | Intermittent / Continuous Operation | Infrastructure | Components | Fan Controls | $ Per Unit
|  | 6.0101.4b | Optional Sensors
|  | 6.0101.4c | Manual Override
|  | 6.0101.4d | Labeling
YES | NO | 6.0101.5a | Pre - Work Qualifications | Infrastructure | Components | Air Flow Control Devices | $ Per Unit
|  | 6.0101.5b | Material Selection
|  | 6.0101.5c | Installation
|  | 6.0101.5d | Sealing
|  | 6.0101.5e | Fire Safety
YES | YES | 6.0201.1a | Fan Selection | Local Ventilation | Exhaust Systems | Surface Mounted | $ Per Unit
|  | 6.0201.1b | Sealant Selection
|  | 6.0201.1c | Damper
|  | 6.0201.1d | Location
|  | 6.0201.1e | Opening Preparation
|  | 6.0201.1f | Fan Orientation
|  | 6.0201.1g | Fan Mounting
|  | 6.0201.1h | Wiring
|  | 6.0201.1i | Sealing
|  | 6.0201.1j | Insulate Housing
|  | 6.0201.1k | Fan Access
|  | 6.0201.1l | Venting
VENTILATION (continued)
YES | YES | 6.0201.1a | Fan Selection | Local Ventilation | Exhaust Systems | Kitchen Range Hood Replacement | $ Per Unit
|  | 6.0201.1b | Sealant Selection
|  | 6.0201.1c | Damper
|  | 6.0201.1d | Location
|  | 6.0201.1e | Opening Preparation
|  | 6.0201.1f | Fan Orientation
|  | 6.0201.1g | Fan Mounting
|  | 6.0201.1h | Wiring
|  | 6.0201.1i | Sealing
|  | 6.0201.1j | Insulate Housing
|  | 6.0201.1k | Fan Access
|  | 6.0201.1l | Venting
YES | YES | 6.0201.1a | Fan Selection | Local Ventilation | Exhaust Systems | Kitchen Hood w/ Smart Switch Replacement | $ Per Unit
|  | 6.0201.1b | Sealant Selection
|  | 6.0201.1c | Damper
|  | 6.0201.1d | Location
|  | 6.0201.1e | Opening Preparation
|  | 6.0201.1f | Fan Orientation
|  | 6.0201.1g | Fan Mounting
|  | 6.0201.1h | Wiring
|  | 6.0201.1i | Sealing
|  | 6.0201.1j | Insulate Housing
|  | 6.0201.1k | Fan Access
|  | 6.0201.1l | Venting
YES | YES | 6.0201.1a | Fan Selection | Local Ventilation | Exhaust Systems | Bathroom Fan Replacement | $ Per Unit
|  | 6.0201.1b | Sealant Selection
|  | 6.0201.1c | Damper
|  | 6.0201.1d | Location
|  | 6.0201.1e | Opening Preparation
|  | 6.0201.1f | Fan Orientation
|  | 6.0201.1g | Fan Mounting
|  | 6.0201.1h | Wiring
|  | 6.0201.1i | Sealing
|  | 6.0201.1j | Insulate Housing
|  | 6.0201.1k | Fan Access
|  | 6.0201.1l | Venting
YES | YES | 6.0201.1a | Fan Selection | Local Ventilation | Exhaust Systems | Bathroom Fan Installation w/smart switch | $ Per Unit
|  | 6.0201.1b | Sealant Selection
|  | 6.0201.1c | Damper
|  | 6.0201.1d | Location
|  | 6.0201.1e | Opening Preparation
|  | 6.0201.1f | Fan Orientation
|  | 6.0201.1g | Fan Mounting
|  | 6.0201.1h | Wiring
|  | 6.0201.1i | Sealing
|  | 6.0201.1j | Insulate Housing
|  | 6.0201.1k | Fan Access
|  | 6.0201.1l | Venting
YES | YES | 6.0201.2a | Fan Selection | Local Ventilation | Exhaust Systems | Kitchen Range Hoods | $ Per Unit
|  | 6.0201.2b | Sealant Selection
|  | 6.0201.2c | Location
|  | 6.0201.2d | Damper
|  | 6.0201.2e | Installation
|  | 6.0201.2f | Wiring
|  | 6.0201.2g | Sealing
|  | 6.0201.2h | Fan Access
|  | 6.0201.2i | Venting
|  | 6.0201.2j | Make - Up Air
VENTILATION (continued)
YES | YES | 6.0201.2a | Fan Selection | Local Ventilation | Exhaust Systems | Kitchen Range Hoods w/Smart Switch | $ Per Unit
|  | 6.0201.2b | Sealant Selection
|  | 6.0201.2c | Location
|  | 6.0201.2d | Damper
|  | 6.0201.2e | Installation
|  | 6.0201.2f | Wiring
|  | 6.0201.2g | Sealing
|  | 6.0201.2h | Fan Access
|  | 6.0201.2i | Venting
|  | 6.0201.2j | Make - Up Air
YES | YES | 6.0201.3a | Fan Selection | Local Ventilation | Exhaust Systems | Inline and Multiport Fans | $ Per Unit
|  | 6.0201.3b | Sealant Selection
|  | 6.0201.3c | Wiring
|  | 6.0201.3d | Fan Orientation
|  | 6.0201.3e | Fan Mounting
|  | 6.0201.3f | Damper
|  | 6.0201.3g | Intake Grill Openings
|  | 6.0201.3h | Air Sealing
|  | 6.0201.3i | Fan Access
|  | 6.0201.3j | Venting
YES | YES | 6.0201.4a | Fan Selection | Local Ventilation | Exhaust Systems | Garage Exhaust Fans | $ Per Unit
|  | 6.0201.4b | Sealant Selection
|  | 6.0201.4c | Wiring
|  | 6.0201.4d | Fan Orientation
|  | 6.0201.4e | Fan Mounting
|  | 6.0201.4f | Damper
|  | 6.0201.4g | Controls
|  | 6.0201.4h | Exhaust System Openings
|  | 6.0201.4i | Air Sealing
|  | 6.0201.4j | Fan Access
|  | 6.0201.4k | Outdoor Termination Location
|  | 6.0201.4l | Venting
YES | YES | 6.0202.1a | Duct Sealing | Local Ventilation | Appliance Exhaust | Clothes Dryer | $ Per Unit
|  | 6.0202.1b | Venting Installation
|  | 6.0202.1c | Lint Collection Devices
|  | 6.0202.1d | Mechanical Fasteners
|  | 6.0202.1e | Make - Up Air
|  | 6.0202.1f | Duct Insulation
|  | 6.0202.1g | Termination Fitting
|  | 6.0202.1h | Sealing
|  | 6.0202.1i | Condensing Dryers
YES | YES | 6.0302.1a | Fan Selection | Whole - Building Ventilation | Exhaust Ventilation | Individual Exhaust Fan Serving Entire Dwelling | $ Per Unit
|  | 6.0302.1b | Sealant Selection
|  | 6.0302.1c | Termination Location
|  | 6.0302.1d | Pest Exclusion
|  | 6.0302.1e | Damper
|  | 6.0302.1f | Interior Intake Location
|  | 6.0302.1g | Opening Preparation
|  | 6.0302.1h | Fan Orientation
|  | 6.0302.1i | Fan Mounting
|  | 6.0302.1j | Wiring
|  | 6.0302.1k | Sealing
|  | 6.0302.1l | Insulate Housing
|  | 6.0302.1m | Fan access
|  | 6.0302.1n | Venting
|  | 6.0302.1o | System Balancing
VENTILATION (continued)
YES | YES | 6.0303.1a | Fan Selection | Whole - Building Ventilation | Balanced Ventilation | HRV / ERV Installation | $ Per Unit
|  | 6.0303.1b | Wiring
|  | 6.0303.1c | Exterior Exhaust Termination Location
|  | 6.0303.1d | Exterior Intake Location
|  | 6.0303.1e | Pest Exclusion
|  | 6.0303.1f | Interior Intake Location
|  | 6.0303.1g | interior Supply Location
|  | 6.0303.1h | Combining Air Streams
|  | 6.0303.1i | Backdraft Prevention
|  | 6.0303.1j | Fresh Air Filtration
|  | 6.0303.1k | Fan Mounting
|  | 6.0303.1l | Sealing
|  | 6.0303.1m | Condensate Drain
|  | 6.0303.1n | Access
|  | 6.0303.1o | Fire Dampers
|  | 6.0303.1p | System Balancing
|  | 6.0303.1q | Very Cold Climate Considerations
|  | 6.0303.1r | Hot - Humid Climate Considerations
BASELOAD (ROUTINE NEEDS FOR THE HOUSEHOLD)
YES | YES | 7.0101.1a | Pre - Work Qualifications | Plug Load | Refrigeration | Refrigerator and Freezer Replacement | Per Quote | N/A | N/A | N/A
|  | 7.0101.1b | Selection
|  | 7.0101.1c | Installation
|  | 7.0101.1d | Accessibility
|  | 7.0101.1e | Disposal
|  | 7.0101.1f | Documentation
YES | YES | 7.0101.2a | Clearances and Location | Plug Load | Refrigeration | Refrigerator / Freezer Clean and Tune | $/hr
|  | 7.0101.2b | Coil Cleaning
|  | 7.0101.2c | Condensation Settings
|  | 7.0101.2d | Temperature Settings
YES | YES | 7.0102.1a | Pre - Work Qualifications | Plug Load | Electronics | Consumer Electronics Replacement | $ Per Quote
|  | 7.0102.1b | Selection
|  | 7.0102.1c | Installation
|  | 7.0102.1d | Disconnecting Means
|  | 7.0102.1e | Disposal
|  | 7.0102.1f | Documentation
YES | YES | 7.0103.1a | Selection | Plug Load | Lighting | Lighting Replacement | $ Per Unit
|  | 7.0103.1b | Installation
|  | 7.0103.1c | Electrical Installation
|  | 7.0103.1d | Disposal
|  | 7.0103.1e | Documentation
YES | YES | 7.0103.2a | Design | Plug Load | Lighting | Lighting Reduction | $ Per Unit
|  | 7.0103.2b | Removal
|  | 7.0103.2c | Reuse
|  | 7.0103.2d | Disposal
YES | YES | 7.0103.3a | Selection | Plug Load | Lighting | Ballast Replacement | $ Per Unit
|  | 7.0103.3b | Removal and Installation
|  | 7.0103.3c | Disposal
|  | 7.0103.3d | Documentation
YES | YES | 7.0103.6a | Selection | Plug Load | Lighting | Security Lighting | $ Per Unit
|  | 7.0103.6b | Installation
|  | 7.0103.6c | Controls
|  | 7.0103.6d | Disposal
|  | 7.0103.6e | Documentation
YES | YES | 7.0103.7a | Daylighting | Plug Load | Lighting | Daylighting | $ Per Unit
YES | YES | 7.0104.1a | Selection | Plug Load | Lighting Controls | Occupancy Sensors | $ Per Unit
|  | 7.0104.1b | Installation
|  | 7.0104.1c | Documentation
BASELOAD (ROUTINE NEEDS FOR THE HOUSEHOLD) (continued)
YES | YES | 7.0104.2a | Selection | Plug Load | Lighting Controls | Stand - Alone Timers | $ Per Unit
|  | 7.0104.2b | Installation
|  | 7.0104.2c | Timer Settings
|  | 7.0104.2d | Documentation
YES | YES | 7.0104.3a | Selection | Plug Load | Lighting Controls | Motion Control Sensors | $ Per Unit
|  | 7.0104.3b | Location
|  | 7.0104.3c | Installation
|  | 7.0104.3d | Settings
|  | 7.0104.3e | Documentation
YES | YES | 7.0104.4a | Selection | Plug Load | Lighting Controls | Outdoor Photo Sensors | $ Per Unit |  |  | N/A
|  | 7.0104.4b | Installation
|  | 7.0104.4c | Documentation
YES | YES | 7.0105.1a | Pre - Work Qualifications | Plug Load | Laundry | Washing Machine | Per Quote | N/A | N/A | N/A
|  | 7.0105.1b | Selection
|  | 7.0105.1c | Installation
|  | 7.0105.1d | Water Management
|  | 7.0105.1e | Accessibility
|  | 7.0105.1f | Disposal
|  | 7.0105.1g | Documentation
YES | YES | 7.0105.2a | Pre - Work Qualifications | Plug Load | Laundry | Clothes Dryer | Per Quote | N/A | N/A | N/A
|  | 7.0105.2b | Selection
|  | 7.0105.2c | Installation
|  | 7.0105.2d | Dryer Venting
|  | 7.0105.2e | Accessibility
|  | 7.0105.2f | Disposal
|  | 7.0105.2g | Documentation
YES | YES | 7.0188.1a | Pre - Work Qualifications | Plug Load | Special Considerations | Ceiling Fan Replacement | Per Quote | N/A | N/A | N/A
|  | 7.0188.1b | Selection
|  | 7.0188.1c | Installation
|  | 7.0188.1d | Lighting
|  | 7.0188.1e | Disposal
|  | 7.0188.1f | Documentation
YES | YES | 7.0201.1a | Pre - Work Qualifications | Water Conservation | Water Preservation Devices | Low - Flow Devices | $ Per Unit
|  | 7.0201.1b | Selection
|  | 7.0201.1c | Installation
|  | 7.0201.1d | Disposal
|  | 7.0201.1e | Documentation
YES | YES | 7.0201.2a | Pre - Work Qualifications | Water Conservation | Water Preservation Devices | Dishwasher | Per Quote | N/A | N/A | N/A
|  | 7.0201.2b | Selection
|  | 7.0201.2c | Installation
|  | 7.0201.2d | Disposal
|  | 7.0201.2e | Documentation
YES | YES | 7.0301.1a | Pre - Work Qualifications | Water Heating | Thermal Loss Reduction | Pipe Insulation | $/linear foot
|  | 7.0301.1b | Insulation Selection
|  | 7.0301.1c | Installation
|  | 7.0301.1d | Clearance
OTHER
YES | YES | N/A |  | Special Considerations | Minor Carpentry | Minor Carpentry | $/hr
YES | YES | N/A |  | Safety Devices | Fire Suppression Devices | Fire Extinguishers | $ Per Unit
Note on F84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These Radon systems can eat up a whole H&S budget very quickly. Wy were these taken out of the program previously?
Note on G198: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: How does a contractor bid on this one if they don't know if it is a cover for the whole house fan or if it means air sealing around the whole house fan? Brian said we will wait for clarity from the Technical Consultant.
Note on K314: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per our conversation is this accurate per DEEP? Reply: Will depend on specific situation.
Note on K329: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per our conversation is this accurate per DEEP? Reply: Will depend on specific situation.
Note on G1053: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We still don't understand how this is different from H&S bath fans and Kitchen Hoods Reply: I think inline ventilation is the same as spot ventilation such as bath fans.
Note on G1075: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Brian clarified this is venting the clothes dryer but we will review with technical consultant. How does the application bid on it.